## Results
Test | Feature Height | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Target Load | Target Decrement | Vertical Line X Position | X Length | X Points | Y Length | Y Points
| nm | Âµm | None | None | None | mN | None | Âµm | Âµm | Integer | Âµm | Integer
1 | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 100 | 10 | 100 | 10
Average | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 100 | 10 | 100 | 10
Standard Deviation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coefficient of Variation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sample Information
No Variables

## Pre-Test Inputs
Test | Target Load | Poisson's Ratio of Sample | X Length | X Points | Y Length | Y Points | Feature Height | Target Decrement
| mN | None | Âµm | Integer | Âµm | Integer | nm | None
1 | 5 | 0.29 | 100 | 10 | 100 | 10 | 0 | 1

## Post-Test Inputs
Test | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Vertical Line X Position
| Âµm | None | None | None | Âµm
1 | 0 | 0.29 | 0 | 0 | 0

## Cycles-GroupedByCycle
Cycle Statistics
Sample Statistics
Avg
StdDev
CoV

## Cycles-GroupedByTest
Test Statistics
Sample Statistics
Avg
StdDev
CoV

## Test 1
Markers | X Position | Y Position | Z Position | Depth | Load | Stiffness | HARDNESS | MODULUS
| Âµm | Âµm | Âµm | nm | mN | N/m | GPa | GPa
| 0 | 89.9636 | 1.4959 | 181.0729 | 4.9996 | 184609.4579 | 6.2354 | 199.0959
| 0 | 79.9624 | 1.3211 | 167.9483 | 4.9995 | 184585.5205 | 7.1148 | 215.4283
| 0 | 69.9611 | 1.1537 | 171.3186 | 4.9997 | 179702.8824 | 6.9109 | 204.9923
| 0 | 59.9599 | 0.97655 | 159.9381 | 4.9997 | 186006.9856 | 7.7364 | 228.7509
| 0 | 49.9586 | 0.84136 | 173.5886 | 4.9996 | 189197.149 | 6.6816 | 213.686
| 0 | 39.9574 | 0.65749 | 157.6875 | 4.9997 | 185335.1662 | 7.9362 | 231.3128
| 0 | 29.9561 | 0.5 | 157.0301 | 4.9996 | 184085.8754 | 8.0063 | 230.6471
| 0 | 19.9549 | 0.33373 | 162.4525 | 4.9997 | 183852.5555 | 7.5478 | 222.1812
| 0 | 9.9536 | 0.18539 | 165.743 | 4.9997 | 177438.7557 | 7.3448 | 209.4011
| 0 | 0 | 0.020383 | 167.5456 | 4.9996 | 180161.6021 | 7.1823 | 210.4215
| 10.0012 | 89.9636 | 1.6463 | 169.1986 | 4.9997 | 185943.631 | 7.0126 | 215.4485
| 10.0012 | 79.9624 | 1.4859 | 164.893 | 4.9996 | 185247.7416 | 7.3415 | 220.4959
| 10.0012 | 69.9611 | 1.3366 | 164.0611 | 4.9997 | 182726.7805 | 7.4289 | 218.4274
| 10.0012 | 59.9599 | 1.1686 | 162.4738 | 4.9996 | 182996.8739 | 7.5537 | 221.0358
| 10.0012 | 49.9586 | 1.0219 | 160.2418 | 4.9996 | 178778.171 | 7.7795 | 218.7498
| 10.0012 | 39.9574 | 0.84531 | 165.7161 | 4.9995 | 187094.1923 | 7.2623 | 221.7036
| 10.0012 | 29.9561 | 0.68385 | 166.6219 | 4.9996 | 190162.3175 | 7.1695 | 224.3585
| 10.0012 | 19.9549 | 0.52778 | 164.9729 | 4.9996 | 188323.006 | 7.3096 | 224.3482
| 10.0012 | 9.9536 | 0.37254 | 169.0112 | 4.9995 | 186590.301 | 7.0209 | 216.5099
| 10.0012 | 0 | 0.20977 | 168.7252 | 4.9997 | 186155.359 | 7.0454 | 216.3516
| 20.0025 | 89.9636 | 1.8537 | 175.0356 | 4.9996 | 185141.0515 | 6.614 | 206.9318
| 20.0025 | 79.9624 | 1.6847 | 165.4388 | 4.9996 | 181237.0886 | 7.334 | 214.6112
| 20.0025 | 69.9611 | 1.5349 | 174.2052 | 4.9997 | 188143.4159 | 6.6479 | 211.6081
| 20.0025 | 59.9599 | 1.368 | 164.838 | 4.9998 | 179344.1345 | 7.3982 | 213.0285
| 20.0025 | 49.9586 | 1.2123 | 169.7284 | 4.9997 | 184326.2408 | 6.9871 | 212.7268
| 20.0025 | 39.9574 | 1.0471 | 167.9343 | 4.9996 | 180393.7045 | 7.1511 | 210.1978
| 20.0025 | 29.9561 | 0.89078 | 166.4029 | 4.9996 | 184892.5809 | 7.2283 | 217.9304
| 20.0025 | 19.9549 | 0.74754 | 172.5326 | 4.9997 | 181711.576 | 6.8096 | 205.9106
| 20.0025 | 9.9536 | 0.5553 | 164.8282 | 4.9997 | 196730.9064 | 7.2555 | 235.5466
| 20.0025 | 0 | 0.39799 | 166.7447 | 4.9996 | 179259.832 | 7.2508 | 210.3544
| 30.0038 | 89.9636 | 2.0593 | 162.4029 | 4.9997 | 173518.7571 | 7.6515 | 208.9285
| 30.0038 | 79.9624 | 1.869 | 162.4852 | 4.9997 | 186104.5432 | 7.5252 | 225.077
| 30.0038 | 69.9611 | 1.7144 | 160.7524 | 4.9997 | 182846.7596 | 7.6972 | 223.3463
| 30.0038 | 59.9599 | 1.5574 | 163.454 | 4.9996 | 183680.9747 | 7.4685 | 220.5183
| 30.0038 | 49.9586 | 1.4063 | 168.5038 | 4.9997 | 188484.1003 | 7.0433 | 219.5864
| 30.0038 | 39.9574 | 1.2411 | 167.7836 | 4.9996 | 187723.06 | 7.1021 | 219.6161
| 30.0038 | 29.9561 | 1.0782 | 172.3474 | 4.9997 | 185652.2787 | 6.7922 | 210.9495
| 30.0038 | 19.9549 | 0.91461 | 164.299 | 4.9997 | 181951.551 | 7.417 | 217.0987
| 30.0038 | 9.9536 | 0.76351 | 167.3948 | 4.9997 | 178822.268 | 7.2055 | 208.9488
| 30.0038 | 0 | 0.58359 | 167.2319 | 4.9997 | 186259.2536 | 7.1548 | 218.5219
| 40.005 | 89.9636 | 2.2345 | 165.9237 | 4.9997 | 190470.0942 | 7.2199 | 225.7556
| 40.005 | 79.9624 | 2.0935 | 166.6672 | 4.9995 | 174404.0036 | 7.3014 | 204.3983
| 40.005 | 69.9611 | 1.9034 | 158.8021 | 4.9995 | 196248.6958 | 7.7431 | 244.415
| 40.005 | 59.9599 | 1.7454 | 163.5486 | 4.9998 | 188080.7421 | 7.4234 | 226.1027
| 40.005 | 49.9586 | 1.595 | 161.2511 | 4.9996 | 185552.5208 | 7.6308 | 226.1739
| 40.005 | 39.9574 | 1.4553 | 162.1599 | 4.9996 | 174527.967 | 7.6612 | 210.5488
| 40.005 | 29.9561 | 1.2663 | 168.4948 | 4.9996 | 185487.67 | 7.0674 | 215.8239
| 40.005 | 19.9549 | 1.1116 | 168.0217 | 4.9997 | 184591.4687 | 7.1097 | 215.3375
| 40.005 | 9.9536 | 0.93816 | 170.3123 | 4.9995 | 189292.4592 | 6.907 | 218.137
| 40.005 | 0 | 0.79216 | 167.7305 | 4.9996 | 181083.8469 | 7.1605 | 211.3293
| 50.0062 | 89.9636
| 50.0062 | 79.9624 | 2.2698 | 169.1658 | 4.9995 | 184344.5587 | 7.0275 | 213.494
| 50.0062 | 69.9611 | 2.092 | 160.4267 | 4.9996 | 186817.651 | 7.6878 | 229.0887
| 50.0062 | 59.9599 | 1.955 | 164.2716 | 4.9997 | 176180.0305 | 7.4728 | 209.783
| 50.0062 | 49.9586 | 1.7838 | 159.7669 | 4.9997 | 183461.1498 | 7.7744 | 225.6218
| 50.0062 | 39.9574 | 1.6314 | 165.9128 | 4.9996 | 176921.0163 | 7.3363 | 208.5255
| 50.0062 | 29.9561 | 1.4609 | 166.9039 | 4.9996 | 185964.158 | 7.1816 | 218.5996
| 50.0062 | 19.9549 | 1.3191 | 161.5447 | 4.9997 | 179886.7101 | 7.6592 | 218.3235
| 50.0062 | 9.9536 | 1.1279 | 170.2802 | 4.9997 | 188488.1154 | 6.9155 | 217.1758
| 50.0062 | 0 | 0.95284 | 170.7999 | 4.9997 | 179890.9126 | 6.9462 | 205.876
| 60.0075 | 89.9636 | 2.6237 | 159.4791 | 4.9996 | 190438.9164 | 7.7354 | 235.4077
| 60.0075 | 79.9624 | 2.4511 | 160.7522 | 4.9997 | 186823.9068 | 7.6608 | 228.6051
| 60.0075 | 69.9611 | 2.2994 | 163.5856 | 4.9995 | 187428.2077 | 7.4255 | 225.1958
| 60.0075 | 59.9599 | 2.1522 | 172.8334 | 4.9996 | 181342.294 | 6.7916 | 205.0869
| 60.0075 | 49.9586 | 1.9819 | 165.6021 | 4.9996 | 192121.037 | 7.2313 | 228.3598
| 60.0075 | 39.9574 | 1.8189 | 168.2481 | 4.9995 | 188315.5726 | 7.0631 | 219.7249
| 60.0075 | 29.9561 | 1.6576 | 159.994 | 4.9997 | 178824.7383 | 7.8003 | 219.1699
| 60.0075 | 19.9549 | 1.5067 | 173.8169 | 4.9996 | 180458.9118 | 6.7312 | 202.8086
| 60.0075 | 9.9536 | 1.3331 | 169.4015 | 4.9997 | 180583.3334 | 7.0414 | 208.5172
| 60.0075 | 0 | 1.1815 | 175.5799 | 4.9996 | 181363.2364 | 6.6059 | 201.7492
| 70.0087 | 89.9636 | 2.8191 | 168.0781 | 4.9997 | 189161.1582 | 7.0693 | 221.0324
| 70.0087 | 79.9624 | 2.6645 | 168.793 | 4.9996 | 182526.1135 | 7.0697 | 211.7224
| 70.0087 | 69.9611 | 2.5086 | 165.1513 | 4.9996 | 177805.6943 | 7.3875 | 210.6547
| 70.0087 | 59.9599 | 2.3547 | 167.0506 | 4.9995 | 178988.9061 | 7.2299 | 209.6098
| 70.0087 | 49.9586 | 2.1801 | 165.3558 | 4.9996 | 185547.2739 | 7.3031 | 220.2275
| 70.0087 | 39.9574 | 2.0212 | 170.5177 | 4.9996 | 176488.7716 | 6.9952 | 202.0824
| 70.0087 | 29.9561 | 1.8433 | 165.6143 | 4.9997 | 200578.1579 | 7.1684 | 239.4272
| 70.0087 | 19.9549 | 1.6984 | 167.0842 | 4.9998 | 179967.5589 | 7.2191 | 210.7913
| 70.0087 | 9.9536 | 1.5171 | 159.7403 | 4.9997 | 183682.0445 | 7.7747 | 225.9553
| 70.0087 | 0 | 1.3772 | 169.7584 | 4.9996 | 186650.4127 | 6.9666 | 215.5809
| 80.01 | 89.9636 | 3.023 | 158.9609 | 4.9998 | 178930.5087 | 7.8884 | 220.8197
| 80.01 | 79.9624 | 2.8545 | 165.384 | 4.9997 | 180710.0088 | 7.3429 | 214.017
| 80.01 | 69.9611 | 2.6863 | 165.7594 | 4.9995 | 186216.9777 | 7.2663 | 220.5177
| 80.01 | 59.9599 | 2.5378 | 165.684 | 4.9996 | 187502.7087 | 7.2617 | 222.2745
| 80.01 | 49.9586 | 2.3744 | 168.4466 | 4.9996 | 176504.0745 | 7.1471 | 204.7119
| 80.01 | 39.9574 | 2.2139 | 168.7474 | 4.9996 | 180705.3706 | 7.0882 | 209.5186
| 80.01 | 29.9561 | 2.0488 | 165.2651 | 4.9997 | 186415.8184 | 7.3031 | 221.472
| 80.01 | 19.9549 | 1.8983 | 165.2282 | 4.9998 | 186330.0592 | 7.3067 | 221.4141
| 80.01 | 9.9536 | 1.717 | 170.547 | 4.9996 | 195150.4144 | 6.8488 | 225.1806
| 80.01 | 0 | 1.5597 | 162.8253 | 4.9997 | 187896.5234 | 7.4823 | 226.925
| 90.0113 | 89.9636 | 3.2145 | 166.4209 | 4.9995 | 187908.5807 | 7.2022 | 221.7529
| 90.0113 | 79.9624 | 3.0301 | 166.3419 | 4.9996 | 180529.2753 | 7.2704 | 212.4892
| 90.0113 | 69.9611 | 2.8853 | 163.7859 | 4.9996 | 188001.1422 | 7.405 | 225.6511
| 90.0113 | 59.9599 | 2.7302 | 164.9441 | 4.9996 | 181530.3963 | 7.3699 | 215.6643
| 90.0113 | 49.9586 | 2.5698 | 163.7053 | 4.9997 | 181443.8568 | 7.4688 | 217.2777
| 90.0113 | 39.9574 | 2.4199 | 172.9274 | 4.9996 | 182609.6978 | 6.7752 | 206.5046
| 90.0113 | 29.9561 | 2.2472 | 168.7277 | 4.9996 | 180443.9937 | 7.0918 | 209.2201
| 90.0113 | 19.9549 | 2.083 | 176.2535 | 4.9996 | 189901.2059 | 6.5012 | 211.1391
| 90.0113 | 9.9536 | 1.9262 | 168.1939 | 4.9995 | 187112.3469 | 7.0765 | 218.2785
| 90.0113 | 0 | 1.7536 | 164.6311 | 4.9996 | 185239.0824 | 7.3619 | 220.8553