## Results
Test | Feature Height | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Target Load | Target Decrement | Vertical Line X Position | X Length | X Points | Y Length | Y Points
| nm | Âµm | None | None | None | mN | None | Âµm | Âµm | Integer | Âµm | Integer
1 | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 200 | 25 | 200 | 25
Average | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 200 | 25 | 200 | 25
Standard Deviation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coefficient of Variation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sample Information
No Variables

## Pre-Test Inputs
Test | Target Load | Poisson's Ratio of Sample | X Length | X Points | Y Length | Y Points | Feature Height | Target Decrement
| mN | None | Âµm | Integer | Âµm | Integer | nm | None
1 | 5 | 0.29 | 200 | 25 | 200 | 25 | 0 | 1

## Post-Test Inputs
Test | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Vertical Line X Position
| Âµm | None | None | None | Âµm
1 | 0 | 0.29 | 0 | 0 | 0

## Cycles-GroupedByCycle
Cycle Statistics
Sample Statistics
Avg
StdDev
CoV

## Cycles-GroupedByTest
Test Statistics
Sample Statistics
Avg
StdDev
CoV

## Test 1
Markers | X Position | Y Position | Z Position | Depth | Load | Stiffness | HARDNESS | MODULUS
| Âµm | Âµm | Âµm | nm | mN | N/m | GPa | GPa
| 0 | 191.9764 | 1.0552 | 197.2574 | 4.9996 | 190865.7994 | 7.3051 | 227.949
| 0 | 183.9754 | 0.96483 | 191.9524 | 4.9997 | 188214.2807 | 7.7594 | 232.4893
| 0 | 175.9744 | 0.90201 | 201.1196 | 4.9996 | 187719.1083 | 7.038 | 218.4116
| 0 | 167.9734 | 0.79233 | 192.1778 | 4.9997 | 196028.4685 | 7.6733 | 242.7156
| 0 | 159.9724 | 0.71776 | 201.1064 | 4.9997 | 184668.7524 | 7.0634 | 214.6017
| 0 | 151.9714 | 0.63336 | 195.5351 | 4.9995 | 181572.643 | 7.5216 | 218.3988
| 0 | 143.9704 | 0.58995 | 195.6565 | 4.9996 | 176165.5819 | 7.5637 | 211.2927
| 0 | 135.9694 | 0.48711 | 201.2572 | 4.9994 | 186004.5572 | 7.0412 | 216.0686
| 0 | 127.9684 | 0.38894 | 198.1318 | 4.9996 | 193096.506 | 7.2202 | 229.5585
| 0 | 119.9674 | 0.32063 | 201.7796 | 4.9996 | 186260.2482 | 7.0012 | 215.6807
| 0 | 111.9664 | 0.2301 | 191.2276 | 4.9996 | 198018.5068 | 7.737 | 247.017
| 0 | 103.9654 | 0.14426 | 189.479 | 4.9996 | 184881.5925 | 8.0063 | 231.8661
| 0 | 95.9644 | 0.057666 | 195.7265 | 4.9996 | 189840.7812 | 7.4341 | 228.8852
| 0 | 87.9634 | -0.0091676 | 197.2192 | 4.9997 | 182647.552 | 7.3774 | 217.3994
| 0 | 79.9624 | -0.10999 | 193.8688 | 4.9996 | 192839.603 | 7.5594 | 235.7031
| 0 | 71.9614 | -0.19156 | 186.3006 | 4.9996 | 176836.5534 | 8.3855 | 225.9138
| 0 | 63.9604 | -0.24073 | 189.4276 | 4.9996 | 176558.095 | 8.097 | 220.7456
| 0 | 55.9594 | -0.34697 | 195.9313 | 4.9996 | 187579.7434 | 7.4367 | 225.6218
| 0 | 47.9584 | -0.41388 | 197.2173 | 4.9996 | 182674.1566 | 7.3772 | 217.4357
| 0 | 39.9574 | -0.50931 | 192.68 | 4.9996 | 189160.9301 | 7.6893 | 232.6274
| 0 | 31.9564 | -0.58821 | 199.3626 | 4.9996 | 197748.5568 | 7.093 | 233.7778
| 0 | 23.9554 | -0.67768 | 193.6366 | 4.9996 | 197163.3687 | 7.5434 | 241.8946
| 0 | 15.9544 | -0.75761 | 193.8307 | 4.9996 | 196768.4342 | 7.5308 | 241.0488
| 0 | 7.9534 | -0.82505 | 195.2565 | 4.9996 | 188602.8382 | 7.4821 | 227.9619
| 0 | 0 | -0.92977 | 188.9781 | 4.9997 | 185855.5744 | 8.0418 | 233.989
| 8.001 | 191.9764 | 1.1235 | 196.3167 | 4.9996 | 197707.2742 | 7.3254 | 238.3789
| 8.001 | 183.9754 | 1.0334 | 199.3347 | 4.9997 | 194376.4594 | 7.1198 | 229.4451
| 8.001 | 175.9744 | 0.94935 | 193.0423 | 4.9996 | 186759.9607 | 7.6803 | 228.8666
| 8.001 | 167.9734 | 0.85769 | 193.6042 | 4.9997 | 191574.5787 | 7.5919 | 234.4232
| 8.001 | 159.9724 | 0.77954 | 191.2285 | 4.9996 | 189565.3688 | 7.8092 | 235.4511
| 8.001 | 151.9714 | 0.70096 | 187.7384 | 4.9995 | 194118.6245 | 8.0759 | 247.4894
| 8.001 | 143.9704 | 0.63039 | 196.9786 | 4.9996 | 188585.2959 | 7.3454 | 225.3943
| 8.001 | 135.9694 | 0.53911 | 199.511 | 4.9996 | 197180.8189 | 7.086 | 232.8179
| 8.001 | 127.9684 | 0.45252 | 195.2761 | 4.9996 | 186592.3544 | 7.4979 | 225.2979
| 8.001 | 119.9674 | 0.38214 | 190.8946 | 4.9996 | 175607.6637 | 7.9757 | 217.3168
| 8.001 | 111.9664 | 0.29867 | 190.3646 | 4.9997 | 179097.9915 | 7.986 | 222.724
| 8.001 | 103.9654 | 0.2082 | 198.9972 | 4.9996 | 200284.1295 | 7.1023 | 237.6453
| 8.001 | 95.9644 | 0.12245 | 189.3019 | 4.9997 | 184234.3213 | 8.0287 | 231.2671
| 8.001 | 87.9634 | 0.055154 | 197.3265 | 4.9995 | 190262.8805 | 7.3044 | 227.0628
| 8.001 | 79.9624 | -0.034792 | 202.3127 | 4.9995 | 190331.6396 | 6.9313 | 220.052
| 8.001 | 71.9614 | -0.10598 | 200.3107 | 4.9995 | 187445.1834 | 7.0999 | 219.1849
| 8.001 | 63.9604 | -0.19936 | 192.5097 | 4.9996 | 190192.5004 | 7.6946 | 234.2774
| 8.001 | 55.9594 | -0.28812 | 188.7562 | 4.9995 | 181152.3024 | 8.1089 | 227.942
| 8.001 | 47.9584 | -0.34861 | 197.7539 | 4.9997 | 187674.0875 | 7.2926 | 223.0925
| 8.001 | 39.9574 | -0.44871 | 191.3156 | 4.9996 | 197989.9096 | 7.7298 | 246.8304
| 8.001 | 31.9564 | -0.52212 | 195.0225 | 4.9996 | 198863.7369 | 7.4188 | 241.9683
| 8.001 | 23.9554 | -0.60918 | 191.7903 | 4.9996 | 185780.8462 | 7.7955 | 229.4766
| 8.001 | 15.9544 | -0.70211 | 190.2674 | 4.9997 | 188140.5501 | 7.9057 | 235.0455
| 8.001 | 7.9534 | -0.78772 | 187.8778 | 4.9995 | 184167.8873 | 8.1584 | 233.4417
| 8.001 | 0 | -0.85752 | 202.9516 | 4.9996 | 193638.951 | 6.8619 | 223.3252
| 16.002 | 191.9764 | 1.17 | 196.1338 | 4.9996 | 193011.5925 | 7.376 | 232.4426
| 16.002 | 183.9754 | 1.0813 | 197.2073 | 4.9996 | 191011.184 | 7.3079 | 228.2126
| 16.002 | 175.9744 | 1.0082 | 192.9894 | 4.9997 | 190294.9982 | 7.6537 | 233.6666
| 16.002 | 167.9734 | 0.93 | 196.6019 | 4.9996 | 191550.4349 | 7.3508 | 229.8171
| 16.002 | 159.9724 | 0.8622 | 197.9966 | 4.9996 | 191085.2246 | 7.2463 | 227.1474
| 16.002 | 151.9714 | 0.7594 | 189.4279 | 4.9997 | 179307.521 | 8.0678 | 224.4225
| 16.002 | 143.9704 | 0.68055 | 193.479 | 4.9997 | 187397.9161 | 7.6383 | 229.0502
| 16.002 | 135.9694 | 0.60109 | 190.1643 | 4.9995 | 189276.138 | 7.9039 | 236.7569
| 16.002 | 127.9684 | 0.51963 | 187.8188 | 4.9996 | 178516.6364 | 8.2235 | 225.8307
| 16.002 | 119.9674 | 0.42757 | 187.3941 | 4.9996 | 190434.5646 | 8.1413 | 242.9127
| 16.002 | 111.9664 | 0.35344 | 193.1388 | 4.9997 | 186832.8978 | 7.6718 | 228.8173
| 16.002 | 103.9654 | 0.2772 | 205.2916 | 4.9996 | 197372.8241 | 6.6744 | 224.7523
| 16.002 | 95.9644 | 0.18914 | 197.7957 | 4.9997 | 199445.5066 | 7.1989 | 238.3884
| 16.002 | 87.9634 | 0.10741 | 199.6328 | 4.9997 | 187046.1105 | 7.1541 | 219.6248
| 16.002 | 79.9624 | 0.032323 | 197.3227 | 4.9995 | 191114.4437 | 7.2978 | 228.1756
| 16.002 | 71.9614 | -0.048767 | 197.4266 | 4.9997 | 199142.7035 | 7.2291 | 238.5588
| 16.002 | 63.9604 | -0.11019 | 200.302 | 4.9997 | 182565.9019 | 7.1408 | 213.0558
| 16.002 | 55.9594 | -0.2315 | 196.6763 | 4.9995 | 191110.2986 | 7.3484 | 229.1296
| 16.002 | 47.9584 | -0.30227 | 192.5009 | 4.9997 | 194667.8535 | 7.6575 | 240.3394
| 16.002 | 39.9574 | -0.38881 | 194.3691 | 4.9996 | 192892.2376 | 7.5182 | 234.9943
| 16.002 | 31.9564 | -0.44656 | 207.1833 | 4.9995 | 192544.8357 | 6.5794 | 216.2334
| 16.002 | 23.9554 | -0.55125 | 193.1243 | 4.9996 | 197067.929 | 7.5862 | 242.5928
| 16.002 | 15.9544 | -0.618 | 198.4366 | 4.9996 | 194736.3713 | 7.1846 | 231.2396
| 16.002 | 7.9534 | -0.70539 | 188.6035 | 4.9997 | 179875.59 | 8.1366 | 226.4539
| 16.002 | 0 | -0.79911 | 193.8685 | 4.9995 | 185139.3881 | 7.6259 | 225.478
| 24.003 | 191.9764 | 1.2324 | 187.8894 | 4.9995 | 193492.3294 | 8.0679 | 246.3527
| 24.003 | 183.9754 | 1.1472 | 198.1963 | 4.9995 | 193684.1676 | 7.2106 | 230.2268
| 24.003 | 175.9744 | 1.0708 | 195.7383 | 4.9997 | 198310.8209 | 7.3663 | 240.091
| 24.003 | 167.9734 | 0.99489 | 197.7941 | 4.9995 | 188049.9531 | 7.2862 | 223.5183
| 24.003 | 159.9724 | 0.89964 | 193.0089 | 4.9997 | 191004.2599 | 7.6459 | 234.5872
| 24.003 | 151.9714 | 0.8337 | 190.448 | 4.9996 | 187405.7888 | 7.8965 | 233.7599
| 24.003 | 143.9704 | 0.75406 | 195.4509 | 4.9996 | 193112.6457 | 7.4293 | 233.6177
| 24.003 | 135.9694 | 0.67302 | 191.8433 | 4.9995 | 180927.6935 | 7.8373 | 222.9374
| 24.003 | 127.9684 | 0.57384 | 189.0749 | 4.9997 | 170781.9663 | 8.1954 | 213.6075
| 24.003 | 119.9674 | 0.49841 | 187.3473 | 4.9996 | 191873.4286 | 8.1321 | 245.0055
| 24.003 | 111.9664 | 0.42269 | 197.6474 | 4.9997 | 195767.8355 | 7.2371 | 233.7729
| 24.003 | 103.9654 | 0.355 | 190.8907 | 4.9995 | 187341.0553 | 7.8584 | 232.9733
| 24.003 | 95.9644 | 0.2664 | 196.2721 | 4.9996 | 179232.962 | 7.4841 | 214.3569
| 24.003 | 87.9634 | 0.17612 | 198.3934 | 4.9996 | 186825.5338 | 7.2501 | 221.0888
| 24.003 | 79.9624 | 0.076025 | 194.9682 | 4.9996 | 195319.4859 | 7.4503 | 237.301
| 24.003 | 71.9614 | -0.0086385 | 194.0049 | 4.9995 | 194878.383 | 7.5316 | 238.2241
| 24.003 | 63.9604 | -0.074216 | 191.2059 | 4.9997 | 197431.6604 | 7.7438 | 246.2438
| 24.003 | 55.9594 | -0.16624 | 187.7431 | 4.9997 | 195434.0582 | 8.064 | 249.3335
| 24.003 | 47.9584 | -0.23886 | 196.372 | 4.9996 | 191032.5215 | 7.3731 | 229.4825
| 24.003 | 39.9574 | -0.30882 | 198.3404 | 4.9996 | 188566.462 | 7.24 | 223.398
| 24.003 | 31.9564 | -0.40721 | 204.8374 | 4.9996 | 192548.8558 | 6.738 | 219.3699
| 24.003 | 23.9554 | -0.48076 | 201.8587 | 4.9996 | 194651.8437 | 6.9327 | 226.1479
| 24.003 | 15.9544 | -0.56158 | 200.6347 | 4.9996 | 195799.6726 | 7.0132 | 229.378
| 24.003 | 7.9534 | -0.62415 | 201.2456 | 4.9996 | 184738.0281 | 7.0525 | 214.5001
| 24.003 | 0 | -0.72484 | 194.4678 | 4.9996 | 196896.9173 | 7.4782 | 240.2052
| 32.004 | 191.9764 | 1.318 | 193.6181 | 4.9996 | 184970.4123 | 7.6485 | 225.6296
| 32.004 | 183.9754 | 1.2119 | 191.5252 | 4.9997 | 183220.0746 | 7.8427 | 226.4618
| 32.004 | 175.9744 | 1.1332 | 198.2698 | 4.9996 | 188696.7452 | 7.2444 | 223.6672
| 32.004 | 167.9734 | 1.0605 | 190.71 | 4.9996 | 187224.4543 | 7.8754 | 233.101
| 32.004 | 159.9724 | 0.95952 | 195.5751 | 4.9995 | 191695.7194 | 7.4308 | 231.5544
| 32.004 | 151.9714 | 0.90214 | 192.5681 | 4.9998 | 184292.0167 | 7.7434 | 226.3095
| 32.004 | 143.9704 | 0.81695 | 192.8044 | 4.9995 | 185522.5089 | 7.7115 | 227.5836
| 32.004 | 135.9694 | 0.71761 | 193.8472 | 4.9996 | 191358.5143 | 7.5735 | 233.7564
| 32.004 | 127.9684 | 0.65602 | 197.5592 | 4.9996 | 191323.7149 | 7.278 | 228.0993
| 32.004 | 119.9674 | 0.56967 | 190.8116 | 4.9996 | 184111.1804 | 7.8961 | 228.7462
| 32.004 | 111.9664 | 0.4819 | 194.9723 | 4.9996 | 186364.6857 | 7.5245 | 225.4488
| 32.004 | 103.9654 | 0.39978 | 188.3236 | 4.9996 | 186426.5744 | 8.0952 | 235.8244
| 32.004 | 95.9644 | 0.31998 | 196.1528 | 4.9996 | 187001.6842 | 7.424 | 224.544
| 32.004 | 87.9634 | 0.23484 | 191.8118 | 4.9997 | 192571.3086 | 7.7331 | 238.5992
| 32.004 | 79.9624 | 0.14912 | 192.3246 | 4.9994 | 183270.1557 | 7.773 | 225.3188
| 32.004 | 71.9614 | 0.057376 | 188.3626 | 4.9996 | 190289.5576 | 8.0547 | 241.0931
| 32.004 | 63.9604 | -0.013531 | 193.3924 | 4.9997 | 190590.0695 | 7.6177 | 233.4352
| 32.004 | 55.9594 | -0.10519 | 191.0323 | 4.9995 | 198606.5891 | 7.7488 | 248.1578
| 32.004 | 47.9584 | -0.19534 | 197.4875 | 4.9997 | 196634.309 | 7.2429 | 235.1544
| 32.004 | 39.9574 | -0.26185 | 186.8372 | 4.9997 | 193049.4431 | 8.1683 | 247.5337
| 32.004 | 31.9564 | -0.32559 | 196.9561 | 4.9997 | 190237.0818 | 7.3338 | 227.5759
| 32.004 | 23.9554 | -0.40861 | 204.4785 | 4.9996 | 184697.292 | 6.8205 | 210.1729
| 32.004 | 15.9544 | -0.48952 | 191.8006 | 4.9996 | 182340.7134 | 7.8273 | 224.875
| 32.004 | 7.9534 | -0.58021 | 193.2637 | 4.9997 | 191902.5101 | 7.6172 | 235.3941
| 32.004 | 0 | -0.64184 | 195.3664 | 4.9996 | 184391.608 | 7.51 | 222.2955
| 40.005 | 191.9764 | 1.3635 | 188.8764 | 4.9997 | 183749.4641 | 8.0718 | 231.2794
| 40.005 | 183.9754 | 1.2844 | 189.6829 | 4.9996 | 182930.029 | 8.0074 | 228.9039
| 40.005 | 175.9744 | 1.2036 | 198.4786 | 4.9995 | 184881.1184 | 7.2597 | 218.4848
| 40.005 | 167.9734 | 1.1085 | 198.5461 | 4.9996 | 194790.929 | 7.1759 | 231.1478
| 40.005 | 159.9724 | 1.0287 | 193.0351 | 4.9996 | 194351.3992 | 7.6156 | 239.0539
| 40.005 | 151.9714 | 0.94697 | 194.4469 | 4.9996 | 188757.76 | 7.5465 | 229.3835
| 40.005 | 143.9704 | 0.87089 | 201.6946 | 4.9995 | 201540.3621 | 6.8971 | 235.2122
| 40.005 | 135.9694 | 0.80929 | 194.8422 | 4.9996 | 187022.55 | 7.5293 | 226.5048
| 40.005 | 127.9684 | 0.71898 | 194.1649 | 4.9996 | 181354.5991 | 7.6366 | 220.0862
| 40.005 | 119.9674 | 0.63476 | 193.7307 | 4.9997 | 184350.4436 | 7.6448 | 224.6456
| 40.005 | 111.9664 | 0.55947 | 192.1061 | 4.9996 | 176045.6659 | 7.8645 | 216.1341
| 40.005 | 103.9654 | 0.46626 | 195.0445 | 4.9997 | 191118.3367 | 7.4782 | 231.5987
| 40.005 | 95.9644 | 0.39115 | 191.7302 | 4.9997 | 196155.6322 | 7.7099 | 243.622
| 40.005 | 87.9634 | 0.31262 | 201.1619 | 4.9996 | 182569.4705 | 7.0765 | 211.9067
| 40.005 | 79.9624 | 0.21092 | 193.8389 | 4.9995 | 189810.0415 | 7.5872 | 231.7048
| 40.005 | 71.9614 | 0.12552 | 191.9447 | 4.9996 | 184970.2112 | 7.7898 | 228.1565
| 40.005 | 63.9604 | 0.037993 | 191.6812 | 4.9995 | 189272.1409 | 7.7728 | 234.3382
| 40.005 | 55.9594 | -0.017859 | 196.6839 | 4.9995 | 185737.881 | 7.3925 | 222.1336
| 40.005 | 47.9584 | -0.11136 | 193.948 | 4.9995 | 188206.1905 | 7.5921 | 229.409
| 40.005 | 39.9574 | -0.17518 | 200.5713 | 4.9994 | 189476.2887 | 7.0644 | 221.3935
| 40.005 | 31.9564 | -0.27105 | 192.3186 | 4.9996 | 184686.6854 | 7.7606 | 227.2099
| 40.005 | 23.9554 | -0.34575 | 193.2635 | 4.9996 | 177114.9665 | 7.7539 | 215.8673
| 40.005 | 15.9544 | -0.42799 | 198.6621 | 4.9996 | 183405.6214 | 7.2582 | 216.3537
| 40.005 | 7.9534 | -0.52691 | 193.1444 | 4.9996 | 193799.3908 | 7.6111 | 238.1343
| 40.005 | 0 | -0.60387 | 193.4099 | 4.9997 | 188332.6023 | 7.6358 | 230.3975
| 48.006 | 191.9764 | 1.4217 | 194.1421 | 4.9995 | 188919.3694 | 7.5699 | 230.059
| 48.006 | 183.9754 | 1.3316 | 191.3219 | 4.9997 | 196903.1704 | 7.7383 | 245.3227
| 48.006 | 175.9744 | 1.2548 | 193.6521 | 4.9996 | 190383.3632 | 7.5977 | 232.7565
| 48.006 | 167.9734 | 1.154 | 196.718 | 4.9995 | 191397.731 | 7.3427 | 229.4432
| 48.006 | 159.9724 | 1.0798 | 194.7274 | 4.9996 | 192135.1633 | 7.4953 | 233.4319
| 48.006 | 151.9714 | 1.0067 | 190.2712 | 4.9997 | 183590.4006 | 7.9488 | 228.8817
| 48.006 | 143.9704 | 0.92469 | 190.7971 | 4.9996 | 187224.2845 | 7.8679 | 232.9637
| 48.006 | 135.9694 | 0.85571 | 194.6606 | 4.9996 | 185886.2019 | 7.5541 | 225.283
| 48.006 | 127.9684 | 0.78944 | 202.2409 | 4.9996 | 184245.6688 | 6.9835 | 212.5532
| 48.006 | 119.9674 | 0.69108 | 199.6555 | 4.9996 | 189339.068 | 7.1341 | 222.5116
| 48.006 | 111.9664 | 0.60554 | 191.8997 | 4.9996 | 186998.9312 | 7.7749 | 230.9394
| 48.006 | 103.9654 | 0.53023 | 197.3248 | 4.9996 | 190451.2649 | 7.3032 | 227.3105
| 48.006 | 95.9644 | 0.44282 | 202.2427 | 4.9997 | 186803.0741 | 6.9634 | 215.7324
| 48.006 | 87.9634 | 0.35628 | 197.8806 | 4.9996 | 190988.9836 | 7.2559 | 227.1924
| 48.006 | 79.9624 | 0.27972 | 196.3847 | 4.9996 | 190949.594 | 7.3727 | 229.3545
| 48.006 | 71.9614 | 0.19488 | 197.0649 | 4.9996 | 191454.9486 | 7.3153 | 229.0019
| 48.006 | 63.9604 | 0.13972 | 194.5647 | 4.9997 | 182105.3287 | 7.5966 | 220.4849
| 48.006 | 55.9594 | 0.054217 | 191.8371 | 4.9995 | 191010.0719 | 7.7441 | 236.4404
| 48.006 | 47.9584 | -0.023793 | 196.8012 | 4.9996 | 179465.7832 | 7.4394 | 213.92
| 48.006 | 39.9574 | -0.12382 | 194.094 | 4.9997 | 195699.5065 | 7.518 | 239.188
| 48.006 | 31.9564 | -0.21801 | 198.7667 | 4.9996 | 196346.9285 | 7.1478 | 232.8449
| 48.006 | 23.9554 | -0.30544 | 189.3304 | 4.9997 | 188359.2127 | 7.9863 | 236.8482
| 48.006 | 15.9544 | -0.37471 | 198.183 | 4.9996 | 189292.9597 | 7.2461 | 224.5596
| 48.006 | 7.9534 | -0.45048 | 197.5884 | 4.9997 | 191474.1217 | 7.2747 | 228.2524
| 48.006 | 0 | -0.54484 | 198.3753 | 4.9996 | 196410.3371 | 7.1767 | 233.515
| 56.007 | 191.9764 | 1.4826 | 201.2099 | 4.9996 | 189693.8294 | 7.0161 | 220.7775
| 56.007 | 183.9754 | 1.4054 | 195.4475 | 4.9997 | 187223.2478 | 7.4787 | 225.8703
| 56.007 | 175.9744 | 1.3183 | 192.5356 | 4.9996 | 191607.9313 | 7.6803 | 236.1427
| 56.007 | 167.9734 | 1.2314 | 194.6274 | 4.9997 | 192088.5671 | 7.5039 | 233.5243
| 56.007 | 159.9724 | 1.1443 | 193.0102 | 4.9996 | 192236.9592 | 7.6352 | 236.2412
| 56.007 | 151.9714 | 1.0722 | 198.8181 | 4.9996 | 195550.9674 | 7.1498 | 231.7318
| 56.007 | 143.9704 | 1.0002 | 199.0707 | 4.9997 | 194244.608 | 7.1405 | 229.6625
| 56.007 | 135.9694 | 0.92299 | 194.9434 | 4.9995 | 186992.97 | 7.5212 | 226.3149
| 56.007 | 127.9684 | 0.83056 | 195.007 | 4.9996 | 179913.1443 | 7.5807 | 217.0086
| 56.007 | 119.9674 | 0.75226 | 193.8684 | 4.9996 | 189681.038 | 7.586 | 231.4884
| 56.007 | 111.9664 | 0.66604 | 197.8861 | 4.9996 | 193873.2217 | 7.2331 | 230.9352
| 56.007 | 103.9654 | 0.61426 | 204.5301 | 4.9997 | 180519.9118 | 6.85 | 205.0197
| 56.007 | 95.9644 | 0.49971 | 197.5908 | 4.9996 | 191795.813 | 7.2719 | 228.6672
| 56.007 | 87.9634 | 0.41952 | 189.7982 | 4.9997 | 188177.7994 | 7.9467 | 235.8471
| 56.007 | 79.9624 | 0.34395 | 189.6933 | 4.9997 | 192045.8949 | 7.9205 | 241.3229
| 56.007 | 71.9614 | 0.27998 | 205.3814 | 4.9996 | 188690.7276 | 6.728 | 213.8859
| 56.007 | 63.9604 | 0.16875 | 194.0726 | 4.9997 | 192552.8021 | 7.5452 | 235.002
| 56.007 | 55.9594 | 0.095034 | 194.2668 | 4.9997 | 188394.4871 | 7.5646 | 229.1764
| 56.007 | 47.9584
| 56.007 | 39.9574 | -0.049886 | 191.0478 | 4.9996 | 180938.8999 | 7.9067 | 224.1457
| 56.007 | 31.9564 | -0.12975 | 195.6858 | 4.9997 | 184988.5938 | 7.4791 | 222.6079
| 56.007 | 23.9554 | -0.24033 | 192.476 | 4.9997 | 190697.2827 | 7.6931 | 235.0098
| 56.007 | 15.9544 | -0.30891 | 196.4611 | 4.9996 | 193166.1755 | 7.3489 | 232.1497
| 56.007 | 7.9534 | -0.38839 | 199.7958 | 4.9996 | 189328.6657 | 7.1236 | 222.2995
| 56.007 | 0 | -0.49087 | 198.0741 | 4.9996 | 192782.9886 | 7.227 | 229.2363
| 64.008 | 191.9764 | 1.5449 | 196.9525 | 4.9997 | 202607.8653 | 7.2409 | 243.9162
| 64.008 | 183.9754 | 1.4552 | 189.6871 | 4.9996 | 193221.2516 | 7.9104 | 242.9546
| 64.008 | 175.9744 | 1.3696 | 193.3579 | 4.9997 | 191999.2421 | 7.6086 | 235.3764
| 64.008 | 167.9734 | 1.294 | 191.012 | 4.9997 | 197466.6636 | 7.7601 | 246.616
| 64.008 | 159.9724 | 1.2126 | 192.1705 | 4.9998 | 193739.0897 | 7.6932 | 239.6104
| 64.008 | 151.9714
| 64.008 | 143.9704 | 1.0522 | 196.6593 | 4.9996 | 197881.1963 | 7.2975 | 238.0769
| 64.008 | 135.9694 | 0.97621 | 197.1157 | 4.9996 | 195078.3822 | 7.2831 | 233.6728
| 64.008 | 127.9684 | 0.89866 | 195.2258 | 4.9995 | 191088.8569 | 7.4637 | 231.2832
| 64.008 | 119.9674 | 0.81151 | 200.7125 | 4.9997 | 199506.091 | 6.9818 | 234.0445
| 64.008 | 111.9664 | 0.74145 | 202.1272 | 4.9996 | 192245.3507 | 6.9307 | 222.7201
| 64.008 | 103.9654 | 0.64766 | 194.5131 | 4.9997 | 182634.1762 | 7.5958 | 221.2483
| 64.008 | 95.9644 | 0.56056 | 196.6512 | 4.9996 | 184102.4083 | 7.4095 | 220.0707
| 64.008 | 87.9634 | 0.49195 | 197.7925 | 4.9994 | 194704.2687 | 7.2335 | 232.1593
| 64.008 | 79.9624 | 0.39977 | 185.8188 | 4.9996 | 186634.6118 | 8.3254 | 240.2447
| 64.008 | 71.9614 | 0.31622 | 197.523 | 4.9996 | 194308.912 | 7.2577 | 232.0484
| 64.008 | 63.9604 | 0.25649 | 203.7319 | 4.9996 | 196876.2172 | 6.7849 | 226.3101
| 64.008 | 55.9594 | 0.16584 | 197.8488 | 4.9996 | 191493.0338 | 7.2544 | 227.893
| 64.008 | 47.9584 | 0.088546 | 198.379 | 4.9996 | 192748.8903 | 7.204 | 228.7422
| 64.008 | 39.9574 | -0.016091 | 191.3367 | 4.9997 | 193790.6654 | 7.7631 | 241.0286
| 64.008 | 31.9564 | -0.06248 | 192.6813 | 4.9997 | 184941.6177 | 7.7276 | 226.9999
| 64.008 | 23.9554 | -0.16333 | 198.979 | 4.9997 | 191507.6955 | 7.1682 | 226.2621
| 64.008 | 15.9544 | -0.25329 | 193.5306 | 4.9996 | 181969.6032 | 7.6836 | 221.8144
| 64.008 | 7.9534 | -0.32346 | 198.1497 | 4.9995 | 178845.2514 | 7.3384 | 211.2878
| 64.008 | 0 | -0.41984 | 194.1601 | 4.9996 | 196568.5934 | 7.5057 | 240.253
| 72.009 | 191.9764 | 1.5966 | 192.1736 | 4.9996 | 189850.27 | 7.726 | 234.3442
| 72.009 | 183.9754 | 1.5381 | 199.4083 | 4.9995 | 188691.9207 | 7.1575 | 222.0351
| 72.009 | 175.9744 | 1.4405 | 191.5528 | 4.9996 | 183424.5526 | 7.8382 | 226.692
| 72.009 | 167.9734 | 1.3438 | 191.3729 | 4.9996 | 195893.5773 | 7.7421 | 243.8496
| 72.009 | 159.9724 | 1.2779 | 194.4226 | 4.9996 | 193606.3357 | 7.5081 | 235.8645
| 72.009 | 151.9714 | 1.1887 | 187.7416 | 4.9997 | 189494.763 | 8.1187 | 241.0222
| 72.009 | 143.9704 | 1.1193 | 190.8425 | 4.9995 | 191650.1856 | 7.8237 | 238.9046
| 72.009 | 135.9694 | 1.0331 | 189.0649 | 4.9996 | 187921.7055 | 8.014 | 236.6772
| 72.009 | 127.9684 | 0.96357 | 200.8981 | 4.9996 | 179959.5167 | 7.1183 | 209.0128
| 72.009 | 119.9674 | 0.88057 | 204.7409 | 4.9997 | 187506.8921 | 6.7811 | 213.2751
| 72.009 | 111.9664 | 0.78745 | 190.1329 | 4.9997 | 186282.9346 | 7.9349 | 232.7359
| 72.009 | 103.9654 | 0.72955 | 195.3201 | 4.9996 | 184536.0368 | 7.5123 | 222.5504
| 72.009 | 95.9644 | 0.62045 | 189.2403 | 4.9997 | 187952.7651 | 7.9983 | 236.4373
| 72.009 | 87.9634 | 0.55373 | 189.1015 | 4.9996 | 197568.6238 | 7.9244 | 249.9941
| 72.009 | 79.9624 | 0.46233 | 190.899 | 4.9997 | 194550.4823 | 7.794 | 242.7856
| 72.009 | 71.9614 | 0.38454 | 193.8841 | 4.9996 | 198599.3754 | 7.5123 | 243.4417
| 72.009 | 63.9604 | 0.30905 | 200.0674 | 4.9995 | 194316.3014 | 7.0654 | 228.2958
| 72.009 | 55.9594 | 0.22628 | 193.2097 | 4.9997 | 194166.6003 | 7.6028 | 238.5267
| 72.009 | 47.9584 | 0.13272 | 197.6223 | 4.9996 | 190177.852 | 7.2824 | 226.5192
| 72.009 | 39.9574 | 0.081116 | 192.1504 | 4.9996 | 188442.3333 | 7.7404 | 232.4867
| 72.009 | 31.9564 | -0.0083007 | 192.4384 | 4.9996 | 186628.0448 | 7.7325 | 229.6137
| 72.009 | 23.9554 | -0.11113 | 190.8705 | 4.9996 | 194904.6804 | 7.7933 | 243.3185
| 72.009 | 15.9544 | -0.18472 | 195.498 | 4.9997 | 190269.7097 | 7.4489 | 229.7924
| 72.009 | 7.9534 | -0.27528 | 201.762 | 4.9996 | 190953.7187 | 6.9665 | 221.5995
| 72.009 | 0 | -0.35826 | 195.9661 | 4.9997 | 185362.8605 | 7.4531 | 222.6866
| 80.01 | 191.9764 | 1.6536 | 198.5443 | 4.9996 | 196349.8811 | 7.1645 | 233.1823
| 80.01 | 183.9754 | 1.5939 | 198.4093 | 4.9996 | 189819.058 | 7.2247 | 224.9111
| 80.01 | 175.9744 | 1.5104 | 192.0506 | 4.9996 | 181692.963 | 7.8122 | 223.6416
| 80.01 | 167.9734 | 1.4083 | 195.3884 | 4.9997 | 191703.645 | 7.4459 | 231.8492
| 80.01 | 159.9724 | 1.33 | 188.3829 | 4.9996 | 193135.6475 | 8.0269 | 245.0178
| 80.01 | 151.9714 | 1.2451 | 192.2235 | 4.9996 | 194063.3569 | 7.6856 | 239.9642
| 80.01 | 143.9704 | 1.176 | 194.4057 | 4.9996 | 188793.5865 | 7.5495 | 229.4931
| 80.01 | 135.9694 | 1.0918 | 190.4416 | 4.9995 | 192619.4734 | 7.8498 | 240.883
| 80.01 | 127.9684 | 1.0259 | 202.1646 | 4.9995 | 193137.8656 | 6.9214 | 223.7948
| 80.01 | 119.9674 | 0.92518 | 193.5553 | 4.9996 | 187527.065 | 7.6306 | 229.105
| 80.01 | 111.9664 | 0.8371 | 187.9986 | 4.9997 | 191025.7857 | 8.0809 | 242.7232
| 80.01 | 103.9654 | 0.76401 | 185.7799 | 4.9996 | 194030.0369 | 8.257 | 250.7652
| 80.01 | 95.9644 | 0.70305 | 198.4212 | 4.9995 | 191285.438 | 7.212 | 226.7853
| 80.01 | 87.9634 | 0.63765 | 217.821 | 4.9996 | 189917.3329 | 5.942 | 200.1046
| 80.01 | 79.9624 | 0.52832 | 196.7785 | 4.9995 | 196692.2331 | 7.297 | 236.3166
| 80.01 | 71.9614 | 0.45863 | 199.8517 | 4.9997 | 189086.1127 | 7.1215 | 221.9119
| 80.01 | 63.9604 | 0.36549 | 192.5394 | 4.9997 | 188929.7087 | 7.7033 | 232.5364
| 80.01 | 55.9594 | 0.28856 | 205.592 | 4.9996 | 196647.3764 | 6.6588 | 223.4328
| 80.01 | 47.9584 | 0.20505 | 192.9321 | 4.9995 | 191350.4066 | 7.6491 | 235.1715
| 80.01 | 39.9574 | 0.12389 | 188.4285 | 4.9997 | 192435.8699 | 8.0293 | 243.9661
| 80.01 | 31.9564 | 0.05821 | 196.4331 | 4.9997 | 192149.9491 | 7.3594 | 230.8568
| 80.01 | 23.9554 | -0.012385 | 199.4536 | 4.9996 | 192095.0256 | 7.1278 | 226.3302
| 80.01 | 15.9544 | -0.12615 | 200.9204 | 4.9996 | 194025.921 | 7.0051 | 226.6918
| 80.01 | 7.9534 | -0.1901 | 199.5667 | 4.9996 | 192428.5615 | 7.1169 | 226.5955
| 80.01 | 0 | -0.2917 | 195.281 | 4.9996 | 194583.3186 | 7.4313 | 235.833
| 88.011 | 191.9764 | 1.7389 | 192.6868 | 4.9996 | 186490.56 | 7.7126 | 229.0498
| 88.011 | 183.9754 | 1.6398 | 189.0724 | 4.9997 | 201436.5919 | 7.8951 | 255.4922
| 88.011 | 175.9744 | 1.5588 | 189.0971 | 4.9996 | 181697.3021 | 8.0726 | 228.1497
| 88.011 | 167.9734 | 1.4784 | 193.1123 | 4.9996 | 189338.9656 | 7.6516 | 232.1962
| 88.011 | 159.9724 | 1.4013 | 192.1347 | 4.9996 | 186207.378 | 7.7621 | 229.5178
| 88.011 | 151.9714 | 1.3158 | 191.5757 | 4.9997 | 191665.0609 | 7.761 | 237.7466
| 88.011 | 143.9704 | 1.231 | 196.7434 | 4.9997 | 193619.5472 | 7.3235 | 232.3195
| 88.011 | 135.9694 | 1.1633 | 205.3154 | 4.9995 | 192330.518 | 6.7067 | 218.4543
| 88.011 | 127.9684 | 1.0728 | 200.4388 | 4.9996 | 192148.1007 | 7.0543 | 224.9829
| 88.011 | 119.9674 | 0.98969 | 198.6485 | 4.9996 | 199857.5219 | 7.1315 | 237.619
| 88.011 | 111.9664 | 0.91816 | 205.4987 | 4.9997 | 191366.8973 | 6.7011 | 217.0204
| 88.011 | 103.9654 | 0.83271 | 196.1414 | 4.9996 | 193674.1441 | 7.3701 | 233.3047
| 88.011 | 95.9644
| 88.011 | 87.9634 | 0.6745 | 191.6374 | 4.9995 | 181294.8287 | 7.8515 | 223.7315
| 88.011 | 79.9624 | 0.61095 | 199.7794 | 4.9996 | 186771.5196 | 7.1452 | 219.0712
| 88.011 | 71.9614 | 0.53569 | 195.8797 | 4.9996 | 184229.6832 | 7.47 | 221.3419
| 88.011 | 63.9604 | 0.44761 | 196.5183 | 4.9995 | 186009.8552 | 7.4033 | 222.7245
| 88.011 | 55.9594 | 0.34727 | 190.127 | 4.9997 | 193261.7652 | 7.8719 | 242.2839
| 88.011 | 47.9584 | 0.2656 | 191.3184 | 4.9996 | 186647.0711 | 7.828 | 231.3691
| 88.011 | 39.9574 | 0.18857 | 192.5942 | 4.9996 | 189783.072 | 7.6911 | 233.5955
| 88.011 | 31.9564 | 0.1144 | 190.592 | 4.9997 | 180547.9461 | 7.9509 | 224.3134
| 88.011 | 23.9554 | 0.027783 | 189.0638 | 4.9996 | 182845.2392 | 8.0639 | 229.7561
| 88.011 | 15.9544 | -0.070807 | 196.3282 | 4.9996 | 190911.817 | 7.3775 | 229.3897
| 88.011 | 7.9534 | -0.1438 | 189.185 | 4.9997 | 189466.2326 | 7.9889 | 238.6042
| 88.011 | 0 | -0.2123 | 194.9634 | 4.9997 | 184171.7554 | 7.5448 | 222.5964
| 96.012 | 191.9764 | 1.7937 | 188.911 | 4.9997 | 188385.0649 | 8.0236 | 237.5639
| 96.012 | 183.9754 | 1.7081 | 192.7943 | 4.9996 | 192222.3501 | 7.6533 | 236.562
| 96.012 | 175.9744 | 1.6403 | 189.8838 | 4.9995 | 184821.7758 | 7.9707 | 231.1471
| 96.012 | 167.9734 | 1.5455 | 194.9162 | 4.9996 | 193541.1894 | 7.4686 | 235.0104
| 96.012 | 159.9724 | 1.4643 | 188.2767 | 4.9995 | 182815.0171 | 8.1354 | 230.9543
| 96.012 | 151.9714 | 1.3865 | 196.2081 | 4.9995 | 194532.6883 | 7.358 | 234.3367
| 96.012 | 143.9704 | 1.3039 | 189.7167 | 4.9996 | 183758.8704 | 7.9962 | 229.9714
| 96.012 | 135.9694 | 1.2261 | 196.5317 | 4.9996 | 195385.8129 | 7.3262 | 234.9689
| 96.012 | 127.9684 | 1.1237 | 188.257 | 4.9997 | 183946.5116 | 8.1261 | 232.532
| 96.012 | 119.9674 | 1.0516 | 193.3102 | 4.9995 | 194882.2344 | 7.5883 | 239.3318
| 96.012 | 111.9664 | 0.97088 | 200.5432 | 4.9997 | 196560.2231 | 7.0145 | 230.4904
| 96.012 | 103.9654 | 0.90901 | 195.5665 | 4.9996 | 188205.8906 | 7.4606 | 226.9798
| 96.012 | 95.9644 | 0.81807 | 198.4698 | 4.9997 | 190992.6669 | 7.2108 | 226.3372
| 96.012 | 87.9634 | 0.74686 | 196.107 | 4.9996 | 187946.1342 | 7.4196 | 225.841
| 96.012 | 79.9624 | 0.66617 | 196.0375 | 4.9994 | 187449.7907 | 7.429 | 225.2953
| 96.012 | 71.9614 | 0.57762 | 194.5959 | 4.9996 | 192922.1076 | 7.4996 | 234.6824
| 96.012 | 63.9604 | 0.48684 | 194.6431 | 4.9996 | 198014.7496 | 7.4555 | 241.431
| 96.012 | 55.9594 | 0.41459 | 187.105 | 4.9996 | 190176.3754 | 8.1704 | 243.0389
| 96.012 | 47.9584 | 0.33249 | 193.0309 | 4.9996 | 193270.9054 | 7.6249 | 237.6016
| 96.012 | 39.9574 | 0.25786 | 192.7138 | 4.9995 | 187496.7407 | 7.7011 | 230.3493
| 96.012 | 31.9564 | 0.17828 | 196.3256 | 4.9997 | 193782.7337 | 7.355 | 233.1681
| 96.012 | 23.9554 | 0.088057 | 196.1067 | 4.9997 | 192777.3493 | 7.3801 | 232.1753
| 96.012 | 15.9544 | 0.018053 | 193.7068 | 4.9995 | 184310.4953 | 7.6469 | 224.6276
| 96.012 | 7.9534 | -0.088977 | 192.8567 | 4.9997 | 193169.5924 | 7.6403 | 237.7416
| 96.012 | 0 | -0.13356 | 197.547 | 4.9996 | 189109.3058 | 7.2967 | 225.2447
| 104.013 | 191.9764 | 1.8634 | 200.1918 | 4.9997 | 195973.8306 | 7.0445 | 230.2497
| 104.013 | 183.9754 | 1.7602 | 193.144 | 4.9996 | 194511.2658 | 7.6053 | 239.0962
| 104.013 | 175.9744 | 1.6858 | 192.7879 | 4.9996 | 189606.619 | 7.6764 | 233.057
| 104.013 | 167.9734 | 1.614 | 193.7404 | 4.9996 | 191380.8324 | 7.5821 | 233.9519
| 104.013 | 159.9724 | 1.5277 | 191.2749 | 4.9996 | 184055.0184 | 7.8563 | 227.9587
| 104.013 | 151.9714 | 1.4481 | 192.6392 | 4.9996 | 185934.7239 | 7.7218 | 228.3829
| 104.013 | 143.9704 | 1.3707 | 194.8637 | 4.9997 | 191629.8097 | 7.4887 | 232.5525
| 104.013 | 135.9694 | 1.3068 | 199.7598 | 4.9997 | 190032.7864 | 7.1209 | 223.2493
| 104.013 | 127.9684 | 1.2079 | 195.2257 | 4.9995 | 186639.8636 | 7.5014 | 225.434
| 104.013 | 119.9674 | 1.1324 | 196.1506 | 4.9995 | 178898.1773 | 7.4969 | 214.0973
| 104.013 | 111.9664 | 1.0458 | 190.7058 | 4.9996 | 181756.0086 | 7.9285 | 225.7534
| 104.013 | 103.9654 | 0.97316 | 192.8848 | 4.9996 | 186441.9194 | 7.6964 | 228.6835
| 104.013 | 95.9644 | 0.88513 | 194.317 | 4.9997 | 183901.817 | 7.6004 | 223.1909
| 104.013 | 87.9634 | 0.80868 | 198.6385 | 4.9996 | 190359.4999 | 7.2028 | 225.2756
| 104.013 | 79.9624 | 0.7394 | 199.4929 | 4.9996 | 198148.559 | 7.0806 | 234.1037
| 104.013 | 71.9614 | 0.65576 | 203.6507 | 4.9997 | 188423.7838 | 6.8505 | 215.8534
| 104.013 | 63.9604 | 0.56051 | 195.7454 | 4.9995 | 189472.5359 | 7.4354 | 228.373
| 104.013 | 55.9594 | 0.4946 | 200.7168 | 4.9997 | 189342.9812 | 7.0552 | 221.0223
| 104.013 | 47.9584 | 0.4076 | 193.0708 | 4.9996 | 191517.5083 | 7.6363 | 235.1789
| 104.013 | 39.9574 | 0.32166 | 190.5571 | 4.9997 | 186277.8318 | 7.8979 | 232.0619
| 104.013 | 31.9564 | 0.23577 | 191.4861 | 4.9996 | 186877.3821 | 7.8114 | 231.4177
| 104.013 | 23.9554 | 0.1528 | 191.9567 | 4.9996 | 188524.669 | 7.7562 | 232.8998
| 104.013 | 15.9544 | 0.07301 | 197.8554 | 4.9996 | 180710.73 | 7.3445 | 214.0483
| 104.013 | 7.9534 | 0.0048948 | 187.771 | 4.9996 | 185477.3576 | 8.1551 | 235.4145
| 104.013 | 0 | -0.10824 | 190.652 | 4.9997 | 192195.7505 | 7.8356 | 239.9603
| 112.014 | 191.9764 | 1.9084 | 196.2417 | 4.9996 | 200451.6717 | 7.311 | 242.1591
| 112.014 | 183.9754 | 1.8299 | 190.1761 | 4.9997 | 191109.0961 | 7.8866 | 239.2458
| 112.014 | 175.9744 | 1.7642 | 210.9152 | 4.9995 | 200946.893 | 6.2878 | 221.5355
| 112.014 | 167.9734 | 1.6742 | 192.6106 | 4.9995 | 189896.4509 | 7.6886 | 233.7215
| 112.014 | 159.9724 | 1.5895 | 192.8254 | 4.9996 | 187129.6787 | 7.6952 | 229.6894
| 112.014 | 151.9714
| 112.014 | 143.9704 | 1.43 | 196.733 | 4.9997 | 192308.4457 | 7.3346 | 230.6144
| 112.014 | 135.9694 | 1.3463 | 198.1836 | 4.9995 | 186240.3518 | 7.271 | 220.6366
| 112.014 | 127.9684 | 1.2771 | 198.3604 | 4.9995 | 188905.0064 | 7.2355 | 223.8041
| 112.014 | 119.9674 | 1.2031 | 201.0984 | 4.9996 | 185430.333 | 7.0577 | 215.5658
| 112.014 | 111.9664 | 1.1037 | 188.5958 | 4.9995 | 189152.067 | 8.0443 | 239.1343
| 112.014 | 103.9654 | 1.0412 | 188.8598 | 4.9997 | 181792.6863 | 8.0932 | 228.6489
| 112.014 | 95.9644 | 0.96329 | 191.1611 | 4.9996 | 190772.6924 | 7.8042 | 237.1971
| 112.014 | 87.9634 | 0.86749 | 194.2365 | 4.9997 | 192767.3432 | 7.5301 | 235.0338
| 112.014 | 79.9624 | 0.78531 | 195.1582 | 4.9997 | 194872.9378 | 7.4388 | 236.4096
| 112.014 | 71.9614 | 0.71209 | 193.4237 | 4.9997 | 189602.4442 | 7.6236 | 232.068
| 112.014 | 63.9604 | 0.62467 | 196.7115 | 4.9995 | 190475.7597 | 7.3507 | 228.248
| 112.014 | 55.9594 | 0.55117 | 200.0328 | 4.9996 | 191759.4624 | 7.0873 | 225.0667
| 112.014 | 47.9584 | 0.46278 | 190.5884 | 4.9996 | 183835.5908 | 7.9183 | 228.7206
| 112.014 | 39.9574 | 0.368 | 188.737 | 4.9995 | 193587.4142 | 7.9911 | 245.0502
| 112.014 | 31.9564 | 0.31499 | 195.3761 | 4.9996 | 185961.1722 | 7.4952 | 224.3259
| 112.014 | 23.9554 | 0.22371 | 192.562 | 4.9997 | 183185.5202 | 7.7542 | 224.8524
| 112.014 | 15.9544 | 0.14113 | 196.6631 | 4.9997 | 183186.7638 | 7.4168 | 218.8759
| 112.014 | 7.9534 | 0.039817 | 192.5422 | 4.9996 | 193251.5823 | 7.6656 | 238.3524
| 112.014 | 0 | -0.027223 | 182.8274 | 4.9996 | 167133.5955 | 8.8551 | 218.0628
| 120.015 | 191.9764 | 1.9851 | 198.9038 | 4.9996 | 186148.3776 | 7.2165 | 219.5034
| 120.015 | 183.9754 | 1.8957 | 195.2402 | 4.9995 | 191007.0964 | 7.4632 | 231.1535
| 120.015 | 175.9744 | 1.8102 | 198.2342 | 4.9996 | 191020.3747 | 7.2285 | 226.7159
| 120.015 | 167.9734 | 1.74 | 193.9718 | 4.9997 | 185199.6469 | 7.6171 | 225.4045
| 120.015 | 159.9724 | 1.6732 | 198.3175 | 4.9996 | 186635.1291 | 7.2574 | 220.9524
| 120.015 | 151.9714 | 1.5748 | 201.0451 | 4.9996 | 182987.0746 | 7.0817 | 212.5832
| 120.015 | 143.9704 | 1.499 | 191.7495 | 4.9996 | 182517.3329 | 7.8301 | 225.1869
| 120.015 | 135.9694 | 1.4104 | 190.2873 | 4.9996 | 193177.8821 | 7.8585 | 241.904
| 120.015 | 127.9684 | 1.3228 | 189.0403 | 4.9997 | 192766.0128 | 7.9717 | 243.4009
| 120.015 | 119.9674 | 1.2401 | 199.6391 | 4.9995 | 195055.9514 | 7.0918 | 229.8754
| 120.015 | 111.9664 | 1.1635 | 197.0342 | 4.9996 | 188743.3314 | 7.3397 | 225.518
| 120.015 | 103.9654 | 1.082 | 193.5708 | 4.9997 | 187403.6473 | 7.6306 | 228.9185
| 120.015 | 95.9644 | 1.0177 | 192.2213 | 4.9996 | 187819.5999 | 7.7401 | 231.5417
| 120.015 | 87.9634 | 0.94373 | 194.3733 | 4.9996 | 192374.8557 | 7.5221 | 234.2974
| 120.015 | 79.9624 | 0.85954 | 197.4687 | 4.9996 | 181171.4647 | 7.3709 | 215.1678
| 120.015 | 71.9614 | 0.76264 | 194.928 | 4.9995 | 186674.7996 | 7.5252 | 225.9201
| 120.015 | 63.9604 | 0.68379 | 194.5855 | 4.9997 | 190994.4759 | 7.5164 | 232.1352
| 120.015 | 55.9594 | 0.61671 | 200.014 | 4.9996 | 188749.7263 | 7.1118 | 221.2546
| 120.015 | 47.9584 | 0.51966 | 188.0291 | 4.9996 | 197881.5313 | 8.0168 | 252.2915
| 120.015 | 39.9574 | 0.44491 | 202.9292 | 4.9996 | 193525.4223 | 6.8643 | 223.2136
| 120.015 | 31.9564 | 0.35818 | 192.2445 | 4.9996 | 182379.0592 | 7.7887 | 224.2595
| 120.015 | 23.9554 | 0.26786 | 194.852 | 4.9997 | 202967.2817 | 7.4022 | 247.7964
| 120.015 | 15.9544 | 0.20867 | 198.9463 | 4.9996 | 188820.6084 | 7.1917 | 222.8571
| 120.015 | 7.9534 | 0.10984 | 191.6691 | 4.9996 | 191729.1819 | 7.7523 | 237.6834
| 120.015 | 0 | 0.019818 | 199.4734 | 4.9997 | 197610.8362 | 7.0859 | 233.4335
| 128.016 | 191.9764 | 2.0579 | 193.2055 | 4.9996 | 189559.8256 | 7.642 | 232.3472
| 128.016 | 183.9754 | 1.956 | 191.7212 | 4.9995 | 188170.7285 | 7.7792 | 232.7904
| 128.016 | 175.9744 | 1.8826 | 197.4756 | 4.9995 | 191706.8665 | 7.2814 | 228.7213
| 128.016 | 167.9734 | 1.7964 | 192.1687 | 4.9996 | 191465.9141 | 7.7123 | 236.5316
| 128.016 | 159.9724 | 1.7048 | 189.7687 | 4.9996 | 199775.4957 | 7.8478 | 251.9396
| 128.016 | 151.9714 | 1.6312 | 199.3373 | 4.9996 | 195422.9164 | 7.1117 | 230.795
| 128.016 | 143.9704 | 1.5552 | 202.4302 | 4.9996 | 189040.1411 | 6.9326 | 218.272
| 128.016 | 135.9694 | 1.4655 | 193.868 | 4.9996 | 188772.5048 | 7.5938 | 230.2818
| 128.016 | 127.9684 | 1.4068 | 197.7968 | 4.9995 | 181785.8003 | 7.3394 | 215.4942
| 128.016 | 119.9674 | 1.3174 | 197.736 | 4.9996 | 185274.463 | 7.314 | 220.0341
| 128.016 | 111.9664 | 1.2248 | 193.6738 | 4.9996 | 191651.6343 | 7.5853 | 234.4173
| 128.016 | 103.9654 | 1.1423 | 196.3845 | 4.9996 | 193128.1734 | 7.3553 | 232.2159
| 128.016 | 95.9644 | 1.0805 | 200.7773 | 4.9996 | 195627.8629 | 7.004 | 228.9498
| 128.016 | 87.9634 | 0.98911 | 197.4711 | 4.9995 | 193423.7788 | 7.2683 | 230.9676
| 128.016 | 79.9624 | 0.9269 | 200.2697 | 4.9995 | 187616.9963 | 7.1016 | 219.4595
| 128.016 | 71.9614 | 0.84595 | 199.1989 | 4.9995 | 192971.3109 | 7.1401 | 227.8279
| 128.016 | 63.9604 | 0.77527 | 202.5859 | 4.9995 | 191788.7483 | 6.901 | 221.5054
| 128.016 | 55.9594 | 0.66153 | 192.8386 | 4.9996 | 196105.2706 | 7.6175 | 241.7467
| 128.016 | 47.9584 | 0.57819 | 194.3403 | 4.9995 | 183169.1702 | 7.6049 | 222.1978
| 128.016 | 39.9574 | 0.50422 | 191.26 | 4.9996 | 182600.2581 | 7.8717 | 226.038
| 128.016 | 31.9564 | 0.41711 | 192.4985 | 4.9996 | 189397.353 | 7.7026 | 233.2269
| 128.016 | 23.9554 | 0.34857 | 198.2938 | 4.9995 | 189291.738 | 7.2374 | 224.3974
| 128.016 | 15.9544 | 0.27063 | 196.9143 | 4.9996 | 192708.5538 | 7.3171 | 230.866
| 128.016 | 7.9534 | 0.18209 | 198.675 | 4.9997 | 188047.3633 | 7.2187 | 222.2538
| 128.016 | 0 | 0.094007 | 194.2884 | 4.9996 | 191581.226 | 7.5355 | 233.371
| 136.017 | 191.9764 | 2.0986 | 186.8135 | 4.9996 | 193567.2183 | 8.1655 | 248.305
| 136.017 | 183.9754 | 2.0379 | 192.9045 | 4.9997 | 182471.3871 | 7.7319 | 223.3986
| 136.017 | 175.9744 | 1.9401 | 187.7357 | 4.9997 | 187726.6536 | 8.1363 | 238.5789
| 136.017 | 167.9734 | 1.8559 | 194.3996 | 4.9997 | 196254.6625 | 7.4889 | 239.4503
| 136.017 | 159.9724 | 1.7698 | 186.4807 | 4.9996 | 190390.0434 | 8.226 | 244.3966
| 136.017 | 151.9714 | 1.7217 | 200.3104 | 4.9996 | 192634.9356 | 7.0601 | 225.7886
| 136.017 | 143.9704 | 1.619 | 197.3787 | 4.9996 | 184456.2579 | 7.349 | 219.4912
| 136.017 | 135.9694 | 1.5312 | 189.2202 | 4.9996 | 185626.518 | 8.0221 | 233.2895
| 136.017 | 127.9684 | 1.4567 | 199.631 | 4.9994 | 198147.1709 | 7.07 | 233.8938
| 136.017 | 119.9674 | 1.3784 | 196.6335 | 4.9996 | 192454.7068 | 7.3411 | 230.9552
| 136.017 | 111.9664 | 1.2996 | 198.8562 | 4.9996 | 197455.4486 | 7.1329 | 234.1564
| 136.017 | 103.9654 | 1.2093 | 191.8637 | 4.9997 | 190479.8122 | 7.7468 | 235.6822
| 136.017 | 95.9644 | 1.1324 | 201.0171 | 4.9996 | 188192.3751 | 7.0419 | 219.1499
| 136.017 | 87.9634 | 1.0627 | 195.4715 | 4.9996 | 183514.2445 | 7.5093 | 221.0035
| 136.017 | 79.9624 | 0.99057 | 199.2399 | 4.9997 | 188290.2372 | 7.1738 | 221.7621
| 136.017 | 71.9614 | 0.89447 | 192.3436 | 4.9997 | 188083.2601 | 7.7274 | 231.7057
| 136.017 | 63.9604 | 0.80739 | 194.1592 | 4.9996 | 196897.1669 | 7.5031 | 240.6971
| 136.017 | 55.9594 | 0.72831 | 194.3721 | 4.9997 | 185002.4919 | 7.5858 | 224.5516
| 136.017 | 47.9584 | 0.62652 | 207.1575 | 4.9995 | 182154.7124 | 6.6554 | 203.7079
| 136.017 | 39.9574 | 0.58856 | 194.9368 | 4.9996 | 187247.9448 | 7.5196 | 226.6595
| 136.017 | 31.9564 | 0.48045 | 198.6785 | 4.9996 | 192222.3246 | 7.1853 | 227.6211
| 136.017 | 23.9554 | 0.39959 | 196.9164 | 4.9996 | 188920.5139 | 7.3476 | 225.9209
| 136.017 | 15.9544 | 0.32697 | 192.8371 | 4.9996 | 182806.2285 | 7.7341 | 223.9394
| 136.017 | 7.9534 | 0.24903 | 201.9571 | 4.9996 | 187761.2203 | 6.9766 | 217.3171
| 136.017 | 0 | 0.15845 | 195.1077 | 4.9996 | 190102.5465 | 7.4815 | 230.1605
| 144.018 | 191.9764 | 2.1706 | 198.3555 | 4.9995 | 196636.1198 | 7.1764 | 233.8396
| 144.018 | 183.9754 | 2.0996 | 200.0995 | 4.9996 | 180334.8472 | 7.175 | 210.5373
| 144.018 | 175.9744 | 1.9969 | 192.5052 | 4.9996 | 191042.3515 | 7.6877 | 235.4285
| 144.018 | 167.9734 | 1.9161 | 187.6919 | 4.9996 | 190027.6333 | 8.118 | 241.8459
| 144.018 | 159.9724 | 1.8359 | 185.8365 | 4.9997 | 185082.329 | 8.34 | 238.0449
| 144.018 | 151.9714 | 1.759 | 196.3778 | 4.9997 | 189713.2852 | 7.3835 | 227.7479
| 144.018 | 143.9704 | 1.6853 | 197.9747 | 4.9996 | 189724.891 | 7.2586 | 225.4187
| 144.018 | 135.9694 | 1.601 | 195.7955 | 4.9995 | 188161.703 | 7.4425 | 226.5818
| 144.018 | 127.9684 | 1.5241 | 202.3904 | 4.9996 | 193382.4562 | 6.9037 | 223.7874
| 144.018 | 119.9674 | 1.4345 | 188.5168 | 4.9996 | 178945.7822 | 8.1543 | 225.3317
| 144.018 | 111.9664 | 1.3536 | 186.2512 | 4.9996 | 184832.217 | 8.303 | 237.0084
| 144.018 | 103.9654 | 1.2708 | 190.4291 | 4.9996 | 185208.9666 | 7.919 | 230.8177
| 144.018 | 95.9644 | 1.1972 | 193.7369 | 4.9996 | 187649.873 | 7.6145 | 228.9926
| 144.018 | 87.9634 | 1.1185 | 197.7633 | 4.9995 | 179006.1357 | 7.3672 | 212.0156
| 144.018 | 79.9624 | 1.0283 | 190.9375 | 4.9996 | 187384.9426 | 7.854 | 232.9595
| 144.018 | 71.9614 | 0.9454 | 192.9893 | 4.9998 | 193952.426 | 7.6229 | 238.5886
| 144.018 | 63.9604 | 0.88051 | 204.4645 | 4.9996 | 184382.0113 | 6.8238 | 209.8052
| 144.018 | 55.9594 | 0.76822 | 193.4187 | 4.9997 | 189565.1041 | 7.6242 | 232.0255
| 144.018 | 47.9584 | 0.69439 | 193.2213 | 4.9995 | 180784.3014 | 7.721 | 220.7144
| 144.018 | 39.9574 | 0.65177 | 196.4396 | 4.9995 | 185803.3337 | 7.4113 | 222.5709
| 144.018 | 31.9564 | 0.56306 | 191.9799 | 4.9995 | 185512.2711 | 7.7816 | 228.8259
| 144.018 | 23.9554 | 0.45649 | 189.9167 | 4.9996 | 188035.9287 | 7.9372 | 235.4624
| 144.018 | 15.9544 | 0.38087 | 191.8507 | 4.9996 | 186343.8479 | 7.7851 | 230.1373
| 144.018 | 7.9534 | 0.30046 | 190.2361 | 4.9996 | 196687.2758 | 7.8328 | 246.8369
| 144.018 | 0 | 0.21625 | 194.7341 | 4.9996 | 183697.8342 | 7.5677 | 222.3127
| 152.019 | 191.9764 | 2.2268 | 195.4752 | 4.9996 | 199178.4576 | 7.3805 | 241.6698
| 152.019 | 183.9754 | 2.1429 | 196.6225 | 4.9996 | 187661.6185 | 7.3811 | 224.7151
| 152.019 | 175.9744 | 2.0699 | 194.5054 | 4.9996 | 188189.3648 | 7.5466 | 228.5445
| 152.019 | 167.9734 | 1.9863 | 188.207 | 4.9997 | 196527.9041 | 8.0127 | 250.0731
| 152.019 | 159.9724 | 1.9088 | 189.025 | 4.9997 | 185788.9189 | 8.0383 | 233.8232
| 152.019 | 151.9714 | 1.8236 | 192.6366 | 4.9996 | 192306.239 | 7.6658 | 236.9248
| 152.019 | 143.9704 | 1.7452 | 198.6034 | 4.9995 | 186204.9331 | 7.2389 | 219.9977
| 152.019 | 135.9694 | 1.6665 | 190.3998 | 4.9996 | 191289.255 | 7.8654 | 239.1287
| 152.019 | 127.9684 | 1.5992 | 199.1546 | 4.9996 | 184091.5798 | 7.2147 | 216.5422
| 152.019 | 119.9674 | 1.5162 | 201.7636 | 4.9995 | 194469.9305 | 6.9406 | 226.0513
| 152.019 | 111.9664 | 1.434 | 198.3112 | 4.9997 | 191971.6855 | 7.2153 | 227.835
| 152.019 | 103.9654 | 1.3369 | 195.4425 | 4.9996 | 192716.4979 | 7.4332 | 233.1061
| 152.019 | 95.9644 | 1.2689 | 201.9946 | 4.9996 | 188314.9762 | 6.9696 | 217.9594
| 152.019 | 87.9634 | 1.169 | 192.6593 | 4.9997 | 202751.4777 | 7.5808 | 251.1497
| 152.019 | 79.9624 | 1.1107 | 203.2398 | 4.9997 | 190891.0735 | 6.8613 | 219.4804
| 152.019 | 71.9614 | 1.0153 | 193.4111 | 4.9996 | 196091.9418 | 7.5705 | 240.8067
| 152.019 | 63.9604 | 0.94718 | 193.4734 | 4.9996 | 185429.1516 | 7.6562 | 226.4513
| 152.019 | 55.9594 | 0.84306 | 191.3132 | 4.9996 | 190996.471 | 7.7891 | 237.2577
| 152.019 | 47.9584 | 0.76473 | 195.6897 | 4.9995 | 197732.8321 | 7.3743 | 239.3941
| 152.019 | 39.9574 | 0.69899 | 196.2645 | 4.9997 | 185609.5891 | 7.4272 | 222.5741
| 152.019 | 31.9564 | 0.61629 | 195.7678 | 4.9997 | 184559.7066 | 7.4761 | 221.9318
| 152.019 | 23.9554 | 0.53433 | 181.166 | 4.9995 | 164878.6216 | 9.063 | 217.5463
| 152.019 | 15.9544 | 0.46229 | 194.9204 | 4.9997 | 187368.4568 | 7.5201 | 226.843
| 152.019 | 7.9534 | 0.3595 | 192.4818 | 4.9997 | 188818.1839 | 7.7092 | 232.4763
| 152.019 | 0 | 0.29893 | 204.7163 | 4.9995 | 188303.2103 | 6.7766 | 214.2858
| 160.02 | 191.9764 | 2.3125 | 206.2576 | 4.9996 | 186144.5152 | 6.6866 | 209.6445
| 160.02 | 183.9754 | 2.2193 | 199.4004 | 4.9997 | 193864.1324 | 7.1187 | 228.6871
| 160.02 | 175.9744 | 2.1492 | 202.8646 | 4.9996 | 189067.7387 | 6.9014 | 217.7149
| 160.02 | 167.9734 | 2.0467 | 190.0368 | 4.9996 | 197722.112 | 7.8416 | 248.6123
| 160.02 | 159.9724 | 1.9685 | 187.3987 | 4.9995 | 185740.2858 | 8.1866 | 236.3827
| 160.02 | 151.9714 | 1.8829 | 197.6691 | 4.9996 | 191329.0563 | 7.2695 | 227.9445
| 160.02 | 143.9704 | 1.8152 | 194.1888 | 4.9996 | 191938.9892 | 7.5407 | 234.0018
| 160.02 | 135.9694 | 1.7174 | 195.0442 | 4.9996 | 192899.4195 | 7.4636 | 233.9596
| 160.02 | 127.9684 | 1.65 | 196.4854 | 4.9996 | 192094.3387 | 7.3557 | 230.705
| 160.02 | 119.9674 | 1.5616 | 190.1152 | 4.9996 | 187349.794 | 7.9262 | 234.2118
| 160.02 | 111.9664 | 1.4847 | 199.8637 | 4.9996 | 189464.7812 | 7.1175 | 222.3769
| 160.02 | 103.9654 | 1.4049 | 199.3523 | 4.9996 | 193027.062 | 7.1285 | 227.6773
| 160.02 | 95.9644 | 1.3137 | 188.5162 | 4.9996 | 190192.1482 | 8.0418 | 240.7037
| 160.02 | 87.9634 | 1.2335 | 187.0551 | 4.9996 | 180833.3408 | 8.2697 | 230.1865
| 160.02 | 79.9624 | 1.1691 | 192.3938 | 4.9996 | 189495.4056 | 7.7105 | 233.5219
| 160.02 | 71.9614 | 1.0682 | 194.3197 | 4.9996 | 197093.7574 | 7.4885 | 240.7059
| 160.02 | 63.9604 | 0.99303 | 193.2968 | 4.9996 | 190271.3109 | 7.6281 | 233.1566
| 160.02 | 55.9594 | 0.88865 | 191.9453 | 4.9996 | 177523.6111 | 7.8631 | 218.3021
| 160.02 | 47.9584 | 0.8316 | 184.2264 | 4.9995 | 178251.0538 | 8.571 | 231.1765
| 160.02 | 39.9574 | 0.75351 | 196.0374 | 4.9996 | 187961.3161 | 7.4251 | 225.9636
| 160.02 | 31.9564 | 0.66632 | 199.0325 | 4.9995 | 191633.6646 | 7.163 | 226.3461
| 160.02 | 23.9554 | 0.58449 | 187.6332 | 4.9996 | 189859.6143 | 8.125 | 241.7103
| 160.02 | 15.9544 | 0.5182 | 196.1293 | 4.9996 | 187817.1549 | 7.4189 | 225.6401
| 160.02 | 7.9534 | 0.4365 | 195.6259 | 4.9996 | 187132.2434 | 7.465 | 225.4876
| 160.02 | 0 | 0.35177 | 197.3416 | 4.9996 | 193313.6736 | 7.2793 | 231.0182
| 168.021 | 191.9764 | 2.3566 | 194.4589 | 4.9995 | 190021.0648 | 7.5346 | 231.037
| 168.021 | 183.9754 | 2.2805 | 186.2263 | 4.9996 | 186305.09 | 8.2903 | 239.1022
| 168.021 | 175.9744 | 2.1864 | 185.838 | 4.9997 | 187813.1588 | 8.3119 | 241.8664
| 168.021 | 167.9734 | 2.1192 | 197.665 | 4.9995 | 192519.2558 | 7.2603 | 229.4986
| 168.021 | 159.9724 | 2.0321 | 193.3197 | 4.9997 | 189946.1266 | 7.6292 | 232.687
| 168.021 | 151.9714 | 1.9506 | 186.5287 | 4.9996 | 193279.0496 | 8.1944 | 248.3905
| 168.021 | 143.9704 | 1.8698 | 198.0609 | 4.9996 | 191651.5713 | 7.2368 | 227.7868
| 168.021 | 135.9694 | 1.7806 | 190.056 | 4.9996 | 197836.9355 | 7.839 | 248.7396
| 168.021 | 127.9684 | 1.7049 | 197.8117 | 4.9995 | 194334.6437 | 7.2351 | 231.6485
| 168.021 | 119.9674 | 1.6324 | 192.7183 | 4.9996 | 183769.7779 | 7.7351 | 225.3903
| 168.021 | 111.9664 | 1.5495 | 197.7422 | 4.9995 | 193447.9142 | 7.2471 | 230.5942
| 168.021 | 103.9654 | 1.4826 | 193.6054 | 4.9996 | 177212.4797 | 7.7241 | 215.5069
| 168.021 | 95.9644 | 1.3988 | 200.1545 | 4.9996 | 183953.9534 | 7.14 | 214.9966
| 168.021 | 87.9634 | 1.3165 | 191.0559 | 4.9997 | 179272.2508 | 7.923 | 221.92
| 168.021 | 79.9624 | 1.219 | 200.1286 | 4.9996 | 186831.767 | 7.1184 | 218.6618
| 168.021 | 71.9614 | 1.1495 | 195.1221 | 4.9995 | 183889.107 | 7.5342 | 221.9965
| 168.021 | 63.9604 | 1.0731 | 197.6304 | 4.9996 | 178300.0971 | 7.3844 | 211.3045
| 168.021 | 55.9594 | 0.98608 | 192.6196 | 4.9996 | 184075.1922 | 7.7407 | 225.9431
| 168.021 | 47.9584 | 0.9053 | 201.1004 | 4.9996 | 189305.8896 | 7.0271 | 220.4398
| 168.021 | 39.9574 | 0.81788 | 198.6146 | 4.9997 | 193743.2228 | 7.1787 | 229.6853
| 168.021 | 31.9564 | 0.74289 | 192.29 | 4.9994 | 189597.0498 | 7.718 | 233.8197
| 168.021 | 23.9554 | 0.64997 | 188.6158 | 4.9996 | 169903.7938 | 8.2485 | 213.1142
| 168.021 | 15.9544 | 0.57505 | 196.5171 | 4.9996 | 189506.1545 | 7.374 | 227.2707
| 168.021 | 7.9534 | 0.49015 | 192.6658 | 4.9996 | 192439.5768 | 7.6623 | 237.0588
| 168.021 | 0 | 0.41265 | 193.8193 | 4.9996 | 185993.5592 | 7.6224 | 226.6779
| 176.022 | 191.9764 | 2.4221 | 193.1979 | 4.9996 | 185184.3396 | 7.6816 | 226.5416
| 176.022 | 183.9754 | 2.3285 | 189.2129 | 4.9996 | 181342.1257 | 8.0657 | 227.4899
| 176.022 | 175.9744 | 2.2659 | 201.7189 | 4.9996 | 199944.3386 | 6.9061 | 233.1192
| 176.022 | 167.9734 | 2.187 | 192.4325 | 4.9997 | 188453.0327 | 7.7166 | 232.0635
| 176.022 | 159.9724 | 2.1059 | 201.21 | 4.9996 | 195018.6384 | 6.9769 | 227.5441
| 176.022 | 151.9714 | 2.0071 | 188.4707 | 4.9996 | 191826.1603 | 8.0309 | 243.0465
| 176.022 | 143.9704 | 1.9258 | 191.3197 | 4.9998 | 189617.5536 | 7.8011 | 235.3778
| 176.022 | 135.9694 | 1.8487 | 195.6225 | 4.9996 | 191046.4206 | 7.4323 | 230.6267
| 176.022 | 127.9684 | 1.7768 | 206.5245 | 4.9996 | 193209.3005 | 6.6189 | 217.9195
| 176.022 | 119.9674 | 1.6777 | 199.3561 | 4.9997 | 199889.506 | 7.0786 | 236.5822
| 176.022 | 111.9664 | 1.5965 | 187.9364 | 4.9996 | 191430.5539 | 8.0826 | 243.3911
| 176.022 | 103.9654 | 1.5413 | 199.704 | 4.9995 | 187492.0152 | 7.1448 | 220.0904
| 176.022 | 95.9644 | 1.4465 | 197.8725 | 4.9996 | 186127.9533 | 7.2961 | 220.9346
| 176.022 | 87.9634 | 1.3439 | 196.025 | 4.9996 | 175801.3463 | 7.5373 | 210.3246
| 176.022 | 79.9624 | 1.2646 | 198.5544 | 4.9996 | 202384.6266 | 7.1209 | 241.096
| 176.022 | 71.9614 | 1.2154 | 200.685 | 4.9996 | 191691.9954 | 7.0396 | 224.0505
| 176.022 | 63.9604 | 1.1217 | 182.6768 | 4.9997 | 165474.2173 | 8.8945 | 216.0281
| 176.022 | 55.9594 | 1.0473 | 191.9564 | 4.9996 | 187585.6453 | 7.7647 | 231.6387
| 176.022 | 47.9584 | 0.95732 | 197.5923 | 4.9996 | 192135.8207 | 7.2691 | 229.1075
| 176.022 | 39.9574 | 0.89013 | 196.3581 | 4.9995 | 186692.7209 | 7.4101 | 223.8422
| 176.022 | 31.9564 | 0.81566 | 198.3822 | 4.9997 | 184138.1644 | 7.2737 | 217.6741
| 176.022 | 23.9554 | 0.71226 | 187.7787 | 4.9995 | 182818.5381 | 8.1813 | 231.7513
| 176.022 | 15.9544 | 0.64396 | 187.4537 | 4.9996 | 192287.6413 | 8.1187 | 245.4057
| 176.022 | 7.9534 | 0.56539 | 197.9701 | 4.9997 | 184606.0648 | 7.3016 | 218.8483
| 176.022 | 0 | 0.48914 | 195.3627 | 4.9996 | 184949.6086 | 7.5053 | 223.0271
| 184.023 | 191.9764 | 2.4868 | 195.4066 | 4.9996 | 188880.5675 | 7.4677 | 228.1028
| 184.023 | 183.9754 | 2.4136 | 200.2951 | 4.9995 | 190688.3284 | 7.0757 | 223.3244
| 184.023 | 175.9744 | 2.3307 | 187.9004 | 4.9997 | 188269.6938 | 8.116 | 239.0594
| 184.023 | 167.9734 | 2.2413 | 192.0164 | 4.9997 | 189575.7809 | 7.7418 | 234.2213
| 184.023 | 159.9724 | 2.1623 | 196.3115 | 4.9996 | 189919.6697 | 7.3868 | 228.1154
| 184.023 | 151.9714 | 2.0885 | 194.333 | 4.9996 | 201562.1568 | 7.4535 | 246.7352
| 184.023 | 143.9704 | 1.9945 | 195.2966 | 4.9995 | 197235.5626 | 7.4092 | 239.3477
| 184.023 | 135.9694 | 1.9318 | 193.6638 | 4.9996 | 183117.4815 | 7.6617 | 223.124
| 184.023 | 127.9684 | 1.8286 | 188.4357 | 4.9997 | 184308.3096 | 8.1062 | 232.7414
| 184.023 | 119.9674 | 1.729 | 172.6552 | 4.9995 | 175591.0997 | 9.8824 | 247.6797
| 184.023 | 111.9664 | 1.6921 | 191.8663 | 4.9996 | 170986.7107 | 7.9407 | 209.8978
| 184.023 | 103.9654 | 1.5791 | 194.1946 | 4.9996 | 190563.4267 | 7.5517 | 232.1612
| 184.023 | 95.9644 | 1.4772 | 192.7692 | 4.9995 | 188500.9384 | 7.6875 | 231.6056
| 184.023 | 87.9634 | 1.4154 | 203.3503 | 4.9995 | 179819.8598 | 6.9395 | 205.6639
| 184.023 | 79.9624 | 1.3796 | 199.243 | 4.9995 | 178014.6935 | 7.261 | 208.7796
| 184.023 | 71.9614 | 1.2728 | 189.5675 | 4.9996 | 187773.9986 | 7.9706 | 235.6647
| 184.023 | 63.9604 | 1.1976 | 191.5593 | 4.9996 | 182783.6336 | 7.8439 | 225.8285
| 184.023 | 55.9594 | 1.0996 | 183.7117 | 4.9997 | 186895.0325 | 8.5261 | 244.2088
| 184.023 | 47.9584 | 1.0174 | 187.1217 | 4.9997 | 186646.1008 | 8.2034 | 238.0926
| 184.023 | 39.9574 | 0.9448 | 194.8448 | 4.9996 | 181454.8755 | 7.5795 | 219.2353
| 184.023 | 31.9564 | 0.85865 | 185.6434 | 4.9996 | 193324.4404 | 8.2764 | 249.9994
| 184.023 | 23.9554 | 0.78025 | 195.7693 | 4.9995 | 189271.7156 | 7.4352 | 228.074
| 184.023 | 15.9544 | 0.69332 | 186.1865 | 4.9997 | 180594.8944 | 8.3545 | 231.2489
| 184.023 | 7.9534 | 0.62829 | 193.7383 | 4.9995 | 187146.224 | 7.6187 | 228.3228
| 184.023 | 0 | 0.54482 | 190.0105 | 4.9996 | 185584.1021 | 7.9523 | 231.9813
| 192.024 | 191.9764 | 2.5577 | 191.6955 | 4.9997 | 182066.1745 | 7.8393 | 224.6694
| 192.024 | 183.9754 | 2.4668 | 202.4518 | 4.9996 | 190530.9369 | 6.92 | 220.1111
| 192.024 | 175.9744 | 2.3905 | 196.4856 | 4.9995 | 196437.7598 | 7.3216 | 236.4312
| 192.024 | 167.9734 | 2.304 | 187.7975 | 4.9996 | 188075.1577 | 8.1271 | 238.9592
| 192.024 | 159.9724 | 2.2289 | 189.4843 | 4.9996 | 186013.6244 | 7.9947 | 233.3968
| 192.024 | 151.9714 | 2.1489 | 190.7596 | 4.9997 | 185429.4591 | 7.8881 | 230.5999
| 192.024 | 143.9704 | 2.0578 | 194.2931 | 4.9996 | 199304.9825 | 7.4738 | 243.7363
| 192.024 | 135.9694 | 1.9826 | 197.2008 | 4.9995 | 190398.6464 | 7.313 | 227.424
| 192.024 | 127.9684 | 1.8909 | 185.3249 | 4.9997 | 186310.3691 | 8.3759 | 240.6219
| 192.024 | 119.9674 | 1.8367 | 187.2779 | 4.9996 | 175185.6657 | 8.3116 | 222.1598
| 192.024 | 111.9664 | 1.7485 | 190.3899 | 4.9996 | 184185.5918 | 7.9324 | 229.4989
| 192.024 | 103.9654 | 1.6453 | 185.2454 | 4.9997 | 182694.0962 | 8.4217 | 235.6923
| 192.024 | 95.9644 | 1.5794 | 204.5303 | 4.9996 | 187990.8979 | 6.792 | 214.1475
| 192.024 | 87.9634 | 1.4972 | 194.6468 | 4.9995 | 195548.1447 | 7.4743 | 238.111
| 192.024 | 79.9624 | 1.4147 | 198.5559 | 4.9997 | 187672.1343 | 7.2308 | 221.9426
| 192.024 | 71.9614 | 1.3457 | 204.8412 | 4.9995 | 199798.3775 | 6.6893 | 228.425
| 192.024 | 63.9604 | 1.2657 | 191.1677 | 4.9996 | 178928.4732 | 7.9165 | 221.2978
| 192.024 | 55.9594 | 1.1564 | 187.0442 | 4.9995 | 191496.5778 | 8.1633 | 244.9917
| 192.024 | 47.9584 | 1.0788 | 189.3206 | 4.9997 | 191231.3573 | 7.9606 | 240.8131
| 192.024 | 39.9574 | 1.0269 | 204.0691 | 4.9996 | 194940.943 | 6.7746 | 223.4054
| 192.024 | 31.9564 | 0.94141 | 192.2728 | 4.9997 | 185104.2933 | 7.7608 | 227.836
| 192.024 | 23.9554 | 0.86676 | 201.6874 | 4.9997 | 189225.746 | 6.985 | 219.5256
| 192.024 | 15.9544 | 0.76945 | 190.8156 | 4.9996 | 189723.9988 | 7.8433 | 236.3235
| 192.024 | 7.9534 | 0.68003 | 199.9084 | 4.9996 | 203458.7349 | 7.0136 | 240.4145
| 192.024 | 0 | 0.6081 | 187.9747 | 4.9996 | 189220.8444 | 8.0999 | 240.2541