## Results
Test | Feature Height | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Target Load | Target Decrement | Vertical Line X Position | X Length | X Points | Y Length | Y Points
| nm | Âµm | None | None | None | mN | None | Âµm | Âµm | Integer | Âµm | Integer
1 | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 200 | 25 | 200 | 25
Average | 0 | 0 | 0.29 | 0 | 0 | 5 | 1 | 0 | 200 | 25 | 200 | 25
Standard Deviation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coefficient of Variation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sample Information
No Variables

## Pre-Test Inputs
Test | Target Load | Poisson's Ratio of Sample | X Length | X Points | Y Length | Y Points | Feature Height | Target Decrement
| mN | None | Âµm | Integer | Âµm | Integer | nm | None
1 | 5 | 0.29 | 200 | 25 | 200 | 25 | 0 | 1

## Post-Test Inputs
Test | Horizontal Line Y Position | Poisson's Ratio of Sample | Slope X | SlopeY | Vertical Line X Position
| Âµm | None | None | None | Âµm
1 | 0 | 0.29 | 0 | 0 | 0

## Cycles-GroupedByCycle
Cycle Statistics
Sample Statistics
Avg
StdDev
CoV

## Cycles-GroupedByTest
Test Statistics
Sample Statistics
Avg
StdDev
CoV

## Test 1
Markers | X Position | Y Position | Z Position | Depth | Load | Stiffness | HARDNESS | MODULUS
| Âµm | Âµm | Âµm | nm | mN | N/m | GPa | GPa
| 0 | 191.9764 | 0.064789 | 182.0168 | 4.9996 | 154054.7855 | 9.1443 | 201.6024
| 0 | 183.9754 | 0.10657 | 187.7664 | 4.9996 | 188826.5521 | 8.1226 | 240.0518
| 0 | 175.9744 | 0.17364 | 176.2392 | 4.9997 | 164354.3497 | 9.6271 | 224.7713
| 0 | 167.9734 | 0.23797 | 191.9952 | 4.9996 | 185020.7159 | 7.785 | 228.1468
| 0 | 159.9724 | 0.28941 | 186.7265 | 4.9997 | 184843.8007 | 8.2585 | 236.2436
| 0 | 151.9714 | 0.34851 | 189.4631 | 4.9997 | 189954.68 | 7.9598 | 238.8224
| 0 | 143.9704 | 0.41997 | 198.8856 | 4.9997 | 189045.7622 | 7.1946 | 223.2328
| 0 | 135.9694 | 0.47916 | 198.8089 | 4.9997 | 186511.6142 | 7.221 | 220.1007
| 0 | 127.9684 | 0.5138 | 161.3737 | 4.9997 | 158380.6516 | 11.793 | 243.1977
| 0 | 119.9674 | 0.59043 | 184.5269 | 4.9998 | 164784.4739 | 8.7137 | 212.3017
| 0 | 111.9664 | 0.62742 | 164.8265 | 4.9998 | 158259.3731 | 11.2613 | 236.179
| 0 | 103.9654 | 0.68039 | 191.6482 | 4.9996 | 185304.0589 | 7.8121 | 229.0568
| 0 | 95.9644 | 0.74737 | 193.1675 | 4.9997 | 188521.9191 | 7.6543 | 231.0212
| 0 | 87.9634 | 0.83115 | 198.9602 | 4.9995 | 176585.0558 | 7.2961 | 207.3696
| 0 | 79.9624 | 0.86728 | 191.9174 | 4.9996 | 191995.6586 | 7.729 | 237.6486
| 0 | 71.9614 | 0.92294 | 194.7164 | 4.9997 | 188841.6123 | 7.5239 | 229.0877
| 0 | 63.9604 | 0.98342 | 181.7643 | 4.9996 | 162829.4099 | 9.0298 | 213.8137
| 0 | 55.9594 | 1.0338 | 192.2245 | 4.9997 | 195465.62 | 7.6741 | 241.8719
| 0 | 47.9584 | 1.0976 | 196.7491 | 4.9997 | 176086.8142 | 7.4759 | 209.702
| 0 | 39.9574 | 1.1413 | 190.9898 | 4.9996 | 181560.8681 | 7.9056 | 225.0618
| 0 | 31.9564 | 1.2069 | 185.5683 | 4.9995 | 166989.3542 | 8.5786 | 213.712
| 0 | 23.9554 | 1.2479 | 194.4742 | 4.9995 | 189242.3417 | 7.54 | 229.9827
| 0 | 15.9544 | 1.3186 | 171.1618 | 4.9997 | 153042.6409 | 10.4781 | 217.0289
| 0 | 7.9534 | 1.3658 | 184.1841 | 4.9997 | 174882.2743 | 8.6158 | 226.5797
| 0 | 0 | 1.4194 | 184.1818 | 4.9996 | 182951.9818 | 8.5223 | 237.8249
| 8.001 | 191.9764 | 0.27559 | 195.3888 | 4.9995 | 183681.1889 | 7.5144 | 221.3393
| 8.001 | 183.9754 | 0.32655 | 198.5511 | 4.9997 | 185247.6084 | 7.2514 | 218.8515
| 8.001 | 175.9744 | 0.36728 | 199.9113 | 4.9996 | 176786.3666 | 7.2212 | 206.3712
| 8.001 | 167.9734 | 0.41393 | 195.2771 | 4.9996 | 198299.4145 | 7.4027 | 240.8045
| 8.001 | 159.9724 | 0.48535 | 191.4072 | 4.9996 | 181344.6917 | 7.8712 | 224.1442
| 8.001 | 151.9714 | 0.54255 | 195.0151 | 4.9997 | 182645.7549 | 7.5545 | 220.5359
| 8.001 | 143.9704 | 0.58707 | 187.8647 | 4.9994 | 186948.2798 | 8.1316 | 237.289
| 8.001 | 135.9694 | 0.6417 | 188.1089 | 4.9995 | 189239.1882 | 8.0874 | 240.057
| 8.001 | 127.9684 | 0.70019 | 192.8575 | 4.9996 | 185596.5107 | 7.7064 | 227.6016
| 8.001 | 119.9674 | 0.74961 | 165.5888 | 4.9996 | 159722.6637 | 11.1157 | 236.9666
| 8.001 | 111.9664 | 0.80858 | 193.4653 | 4.9996 | 190961.3273 | 7.6083 | 233.8178
| 8.001 | 103.9654 | 0.86645 | 169.8434 | 4.9996 | 159976.0028 | 10.5122 | 229.4645
| 8.001 | 95.9644 | 0.93586 | 174.3721 | 4.9997 | 155460.5628 | 10.0127 | 215.1942
| 8.001 | 87.9634 | 1.0156 | 196.1712 | 4.9998 | 184645.9833 | 7.4432 | 221.4614
| 8.001 | 79.9624 | 1.0432 | 168.0146 | 4.9996 | 166675.6107 | 10.6329 | 242.9832
| 8.001 | 71.9614 | 1.1105 | 195.5907 | 4.9996 | 191996.0486 | 7.4273 | 231.9278
| 8.001 | 63.9604 | 1.1597 | 194.9005 | 4.9995 | 172026.0688 | 7.6686 | 207.0566
| 8.001 | 55.9594 | 1.2184 | 181.1349 | 4.9997 | 176100.9081 | 8.9128 | 233.2744
| 8.001 | 47.9584 | 1.2715 | 189.0831 | 4.9996 | 187589.8104 | 8.0156 | 236.1931
| 8.001 | 39.9574 | 1.3152 | 194.468 | 4.9996 | 192896.1396 | 7.5102 | 234.8459
| 8.001 | 31.9564 | 1.3895 | 167.5826 | 4.9997 | 160150.5699 | 10.8204 | 233.8558
| 8.001 | 23.9554 | 1.4512 | 182.1917 | 4.9997 | 170178.8838 | 8.8796 | 223.2524
| 8.001 | 15.9544 | 1.4925 | 190.7977 | 4.9997 | 181921.2715 | 7.919 | 225.835
| 8.001 | 7.9534 | 1.5481 | 173.9235 | 4.9998 | 167256.058 | 9.8579 | 232.9493
| 8.001 | 0 | 1.6101 | 190.6929 | 4.9996 | 180750.1679 | 7.9397 | 224.4299
| 16.002 | 191.9764 | 0.44809 | 190.1491 | 4.9996 | 174855.6409 | 8.0506 | 217.4166
| 16.002 | 183.9754 | 0.50337 | 197.3157 | 4.9995 | 180806.8113 | 7.3861 | 214.9151
| 16.002 | 175.9744 | 0.54156 | 165.918 | 4.9996 | 164691.1571 | 10.9652 | 244.0059
| 16.002 | 167.9734 | 0.6002 | 191.3629 | 4.9997 | 188802.6512 | 7.8045 | 234.2063
| 16.002 | 159.9724 | 0.65535 | 188.2256 | 4.9997 | 189217.8897 | 8.0775 | 239.8361
| 16.002 | 151.9714 | 0.71332 | 190.2971 | 4.9996 | 187547.2871 | 7.9084 | 234.1911
| 16.002 | 143.9704 | 0.7768 | 189.0172 | 4.9997 | 187547.2324 | 8.022 | 236.2415
| 16.002 | 135.9694 | 0.83474 | 191.2253 | 4.9997 | 188478.9135 | 7.8194 | 233.9859
| 16.002 | 127.9684 | 0.88692 | 188.4268 | 4.9997 | 188777.8671 | 8.0635 | 238.8966
| 16.002 | 119.9674 | 0.94723 | 182.4294 | 4.9996 | 172350.3845 | 8.8259 | 225.8842
| 16.002 | 111.9664 | 0.99899 | 183.996 | 4.9997 | 173747.3691 | 8.6487 | 225.3141
| 16.002 | 103.9654 | 1.0581 | 190.8337 | 4.9996 | 186660.6997 | 7.8699 | 232.1445
| 16.002 | 95.9644 | 1.1109 | 184.5695 | 4.9996 | 180567.5948 | 8.5108 | 233.8411
| 16.002 | 87.9634 | 1.1879 | 197.0425 | 4.9998 | 178256.4239 | 7.4318 | 212.0516
| 16.002 | 79.9624 | 1.2467 | 189.6152 | 4.9997 | 177474.842 | 8.0704 | 221.6874
| 16.002 | 71.9614 | 1.2967 | 193.7239 | 4.9997 | 188338.0442 | 7.6096 | 229.9252
| 16.002 | 63.9604 | 1.3441 | 187.2268 | 4.9996 | 185884.4237 | 8.2011 | 236.8638
| 16.002 | 55.9594 | 1.4185 | 191.4248 | 4.9996 | 187886.1638 | 7.8074 | 232.8714
| 16.002 | 47.9584 | 1.4744 | 184.6056 | 4.9996 | 164274.654 | 8.7125 | 211.4995
| 16.002 | 39.9574 | 1.5154 | 192.7977 | 4.9996 | 180283.1664 | 7.762 | 220.678
| 16.002 | 31.9564 | 1.5671 | 185.4007 | 4.9997 | 196281.9976 | 8.2719 | 254.6641
| 16.002 | 23.9554 | 1.6382 | 170.46 | 4.9996 | 152431.513 | 10.586 | 217.3247
| 16.002 | 15.9544 | 1.6828 | 178.1701 | 4.9995 | 164728.9613 | 9.397 | 222.1145
| 16.002 | 7.9534 | 1.734 | 188.1966 | 4.9996 | 177931.5978 | 8.1949 | 224.4565
| 16.002 | 0 | 1.8202 | 190.9244 | 4.9996 | 180598.4103 | 7.921 | 223.8785
| 24.003 | 191.9764 | 0.6196 | 166.6724 | 4.9996 | 161654.8045 | 10.9183 | 237.8595
| 24.003 | 183.9754 | 0.66457 | 184.5589 | 4.9995 | 183609.8687 | 8.4781 | 238.1157
| 24.003 | 175.9744 | 0.70967 | 156.6199 | 4.9996 | 148487.7024 | 12.8779 | 237.152
| 24.003 | 167.9734 | 0.76827 | 190.8365 | 4.9997 | 188052.9677 | 7.8569 | 234.0235
| 24.003 | 159.9724 | 0.83236 | 188.5865 | 4.9997 | 188421.4576 | 8.0523 | 238.1428
| 24.003 | 151.9714 | 0.89181 | 190.9273 | 4.9997 | 188992.7597 | 7.8404 | 235.1533
| 24.003 | 143.9704 | 0.95378 | 192.5246 | 4.9997 | 189710.672 | 7.6977 | 233.6072
| 24.003 | 135.9694 | 1.0141 | 192.4274 | 4.9995 | 186880.1725 | 7.7309 | 229.9662
| 24.003 | 127.9684 | 1.0826 | 171.4931 | 4.9996 | 156894.4147 | 10.3538 | 222.0466
| 24.003 | 119.9674 | 1.1242 | 187.4166 | 4.9997 | 184065.1605 | 8.2023 | 234.045
| 24.003 | 111.9664 | 1.1861 | 193.5186 | 4.9997 | 184457.7798 | 7.6616 | 225.1029
| 24.003 | 103.9654 | 1.2315 | 187.0596 | 4.9996 | 186859.5361 | 8.2069 | 238.491
| 24.003 | 95.9644 | 1.3173 | 174.3908 | 4.9996 | 153534.7037 | 10.048 | 212.4419
| 24.003 | 87.9634 | 1.3534 | 182.3119 | 4.9996 | 177611.0361 | 8.7716 | 233.4365
| 24.003 | 79.9624 | 1.4087 | 171.3342 | 4.9997 | 172274.0816 | 10.099 | 245.1696
| 24.003 | 71.9614 | 1.4914 | 184.5139 | 4.9997 | 182624.876 | 8.4935 | 236.8098
| 24.003 | 63.9604 | 1.5485 | 187.1915 | 4.9997 | 183670.4419 | 8.2272 | 233.8651
| 24.003 | 55.9594 | 1.5847 | 179.9963 | 4.9996 | 161301.3454 | 9.2464 | 214.4381
| 24.003 | 47.9584 | 1.6362 | 181.793 | 4.9995 | 175117.0128 | 8.856 | 230.7878
| 24.003 | 39.9574 | 1.7092 | 186.6892 | 4.9996 | 165641.328 | 8.4866 | 210.2702
| 24.003 | 31.9564 | 1.7474 | 180.5518 | 4.9997 | 178552.4675 | 8.9432 | 237.7548
| 24.003 | 23.9554 | 1.8031 | 176.9374 | 4.9997 | 176562.3346 | 9.3642 | 241.2216
| 24.003 | 15.9544 | 1.8725 | 177.6123 | 4.9996 | 159244.2031 | 9.5517 | 215.321
| 24.003 | 7.9534 | 1.9355 | 179.5239 | 4.9997 | 166645.765 | 9.2164 | 222.6118
| 24.003 | 0 | 1.9898 | 166.4113 | 4.9996 | 160561.0635 | 10.9785 | 236.683
| 32.004 | 191.9764 | 0.78853 | 169.868 | 4.9997 | 160899.3245 | 10.4911 | 230.7944
| 32.004 | 183.9754 | 0.84671 | 171.0707 | 4.9997 | 152830.1886 | 10.4948 | 216.8745
| 32.004 | 175.9744 | 0.90256 | 175.6157 | 4.9996 | 159687.7683 | 9.781 | 219.1599
| 32.004 | 167.9734 | 0.96226 | 192.9934 | 4.9995 | 188794.2373 | 7.6662 | 231.6516
| 32.004 | 159.9724 | 1.017 | 188.8059 | 4.9997 | 187638.6667 | 8.0401 | 236.709
| 32.004 | 151.9714 | 1.0774 | 188.0003 | 4.9996 | 185634.1677 | 8.1325 | 235.2585
| 32.004 | 143.9704 | 1.1415 | 167.2358 | 4.9995 | 157348.0465 | 10.9282 | 230.2628
| 32.004 | 135.9694 | 1.1952 | 187.7193 | 4.9997 | 186151.2537 | 8.1533 | 236.4282
| 32.004 | 127.9684 | 1.2515 | 185.3305 | 4.9997 | 187533.0055 | 8.3628 | 242.3329
| 32.004 | 119.9674 | 1.3154 | 189.5199 | 4.9996 | 190210.9634 | 7.9523 | 239.0814
| 32.004 | 111.9664 | 1.3647 | 186.294 | 4.9997 | 185567.5491 | 8.2917 | 237.962
| 32.004 | 103.9654 | 1.4337 | 160.7318 | 4.9997 | 158442.5633 | 11.8949 | 244.61
| 32.004 | 95.9644 | 1.468 | 166.8231 | 4.9998 | 163386.4281 | 10.8624 | 240.2286
| 32.004 | 87.9634 | 1.5336 | 188.2968 | 4.9996 | 189607.4746 | 8.0671 | 240.257
| 32.004 | 79.9624 | 1.5963 | 183.623 | 4.9996 | 195681.4123 | 8.4468 | 257.0196
| 32.004 | 71.9614 | 1.6347 | 169.8402 | 4.9997 | 166990.4536 | 10.3816 | 239.9888
| 32.004 | 63.9604 | 1.7193 | 171.5864 | 4.9998 | 149950.7011 | 10.4891 | 211.891
| 32.004 | 55.9594 | 1.761 | 191.5159 | 4.9997 | 197773.2599 | 7.7148 | 246.1988
| 32.004 | 47.9584 | 1.8238 | 166.9566 | 4.9997 | 157740.4806 | 10.9603 | 231.3714
| 32.004 | 39.9574 | 1.8876 | 188.9029 | 4.9997 | 181602.0655 | 8.0914 | 228.3239
| 32.004 | 31.9564 | 1.9286 | 184.1059 | 4.9996 | 185159.1453 | 8.5057 | 241.0661
| 32.004 | 23.9554 | 1.9953 | 165.7682 | 4.9997 | 149737.1663 | 11.322 | 221.5079
| 32.004 | 15.9544 | 2.0487 | 187.5379 | 4.9997 | 186857.2098 | 8.163 | 237.7004
| 32.004 | 7.9534 | 2.1118 | 189.933 | 4.9996 | 166705.4916 | 8.1656 | 207.0504
| 32.004 | 0 | 2.1533 | 170.713 | 4.9997 | 163338.9152 | 10.3328 | 232.9005
| 40.005 | 191.9764 | 0.97648 | 173.0457 | 4.9996 | 164005.6303 | 10.0213 | 229.7324
| 40.005 | 183.9754 | 1.0201 | 161.9092 | 4.9998 | 152614.8789 | 11.8508 | 233.0782
| 40.005 | 175.9744 | 1.0737 | 177.5368 | 4.9997 | 169564.0069 | 9.3956 | 230.0378
| 40.005 | 167.9734 | 1.1358 | 168.7037 | 4.9997 | 167222.5209 | 10.5293 | 242.4971
| 40.005 | 159.9724 | 1.1954 | 184.8537 | 4.9995 | 185845.4371 | 8.4257 | 240.7635
| 40.005 | 151.9714 | 1.2489 | 172.2707 | 4.9997 | 175402.069 | 9.933 | 248.1275
| 40.005 | 143.9704 | 1.3431 | 195.2156 | 4.9996 | 184303.1161 | 7.523 | 222.3998
| 40.005 | 135.9694 | 1.371 | 186.8582 | 4.9996 | 186395.351 | 8.2302 | 238.1789
| 40.005 | 127.9684 | 1.4334 | 170.9568 | 4.9996 | 169624.4207 | 10.1903 | 241.873
| 40.005 | 119.9674 | 1.4859 | 183.2921 | 4.9997 | 185254.0858 | 8.585 | 242.5973
| 40.005 | 111.9664 | 1.5365 | 185.2254 | 4.9997 | 180258.5401 | 8.4506 | 232.3391
| 40.005 | 103.9654 | 1.614 | 163.5781 | 4.9996 | 152940.415 | 11.5772 | 230.3809
| 40.005 | 95.9644 | 1.6481 | 183.3528 | 4.9997 | 183947.6498 | 8.5935 | 240.637
| 40.005 | 87.9634 | 1.7139 | 172.6385 | 4.9996 | 155174.9826 | 10.2388 | 217.6317
| 40.005 | 79.9624 | 1.7738 | 169.777 | 4.9997 | 162268.6526 | 10.4771 | 233.0028
| 40.005 | 71.9614 | 1.8232 | 174.2698 | 4.9996 | 175570.0033 | 9.6877 | 244.6172
| 40.005 | 63.9604 | 1.9006 | 170.8796 | 4.9996 | 153951.7104 | 10.4963 | 218.8185
| 40.005 | 55.9594 | 1.9571 | 177.5737 | 4.9996 | 167244.7967 | 9.4261 | 226.6622
| 40.005 | 47.9584 | 2.0078 | 174.0479 | 4.9997 | 154380.3866 | 10.0747 | 214.1892
| 40.005 | 39.9574 | 2.0576 | 171.8709 | 4.9996 | 168532.3321 | 10.092 | 238.5344
| 40.005 | 31.9564 | 2.1047 | 170.4568 | 4.9996 | 162032.7755 | 10.3907 | 231.4193
| 40.005 | 23.9554 | 2.1706 | 186.3168 | 4.9995 | 181463.6063 | 8.3324 | 232.2356
| 40.005 | 15.9544 | 2.2166 | 192.011 | 4.9997 | 190919.1724 | 7.7305 | 236.0427
| 40.005 | 7.9534 | 2.2796 | 189.5028 | 4.9995 | 193378.2588 | 7.9251 | 243.4776
| 40.005 | 0 | 2.3337 | 167.328 | 4.9997 | 157234.5937 | 10.918 | 229.9245
| 48.006 | 191.9764 | 1.164 | 170.8596 | 4.9997 | 152910.0676 | 10.5216 | 217.3448
| 48.006 | 183.9754 | 1.1954 | 170.697 | 4.9997 | 152956.7936 | 10.5425 | 217.6861
| 48.006 | 175.9744 | 1.2661 | 179.933 | 4.9996 | 172447.7659 | 9.0888 | 230.1124
| 48.006 | 167.9734 | 1.3216 | 190.7044 | 4.9996 | 179637.6438 | 7.9501 | 222.931
| 48.006 | 159.9724 | 1.3734 | 174.3359 | 4.9997 | 173560.3607 | 9.7095 | 241.5049
| 48.006 | 151.9714 | 1.4378 | 183.6561 | 4.9998 | 178134.0962 | 8.6296 | 231.9478
| 48.006 | 143.9704 | 1.4948 | 176.0119 | 4.9996 | 179221.4106 | 9.4335 | 246.8283
| 48.006 | 135.9694 | 1.5562 | 178.2896 | 4.9996 | 174861.1308 | 9.2356 | 236.3611
| 48.006 | 127.9684 | 1.6079 | 169.8081 | 4.9997 | 171835.2057 | 10.3025 | 247.4292
| 48.006 | 119.9674 | 1.6738 | 153.4364 | 4.9997 | 151103.5354 | 13.3963 | 248.2648
| 48.006 | 111.9664 | 1.7328 | 176.1637 | 4.9996 | 155716.587 | 9.7872 | 212.6857
| 48.006 | 103.9654 | 1.7721 | 169.1206 | 4.9997 | 166883.2078 | 10.4793 | 241.1845
| 48.006 | 95.9644 | 1.8466 | 163.8123 | 4.9996 | 149434.2168 | 11.6305 | 224.5979
| 48.006 | 87.9634 | 1.8976 | 169.2056 | 4.9997 | 174872.6068 | 10.3318 | 253.3027
| 48.006 | 79.9624 | 1.9588 | 168.1068 | 4.9996 | 158886.9748 | 10.7729 | 230.9832
| 48.006 | 71.9614 | 2.006 | 166.6841 | 4.9997 | 162186.9103 | 10.9062 | 238.654
| 48.006 | 63.9604 | 2.0684 | 167.0532 | 4.9997 | 156248.4066 | 10.979 | 228.9439
| 48.006 | 55.9594 | 2.1425 | 192.2718 | 4.9996 | 181400.3456 | 7.796 | 222.925
| 48.006 | 47.9584 | 2.2059 | 179.2275 | 4.9996 | 155403.7389 | 9.4323 | 207.5239
| 48.006 | 39.9574 | 2.2389 | 185.6782 | 4.9997 | 180145.3243 | 8.408 | 231.4479
| 48.006 | 31.9564 | 2.298 | 191.7745 | 4.9996 | 185831.0733 | 7.7964 | 229.5682
| 48.006 | 23.9554 | 2.3513 | 189.3049 | 4.9995 | 193490.5073 | 7.9415 | 243.9627
| 48.006 | 15.9544 | 2.4103 | 187.1373 | 4.9996 | 182242.0384 | 8.247 | 231.9873
| 48.006 | 7.9534 | 2.4726 | 169.7155 | 4.9996 | 159053.4191 | 10.5478 | 228.3239
| 48.006 | 0 | 2.5218 | 178.9846 | 4.9997 | 174168.2169 | 9.1687 | 234.1669
| 56.007 | 191.9764 | 1.3271 | 170.4004 | 4.9997 | 157804.0381 | 10.481 | 225.2689
| 56.007 | 183.9754 | 1.3765 | 166.6094 | 4.9997 | 152696.5277 | 11.1247 | 224.422
| 56.007 | 175.9744 | 1.4494 | 180.047 | 4.9997 | 150388.4896 | 9.4309 | 199.5322
| 56.007 | 167.9734 | 1.4767 | 161.595 | 4.9995 | 152315.9179 | 11.9086 | 233.2214
| 56.007 | 159.9724 | 1.5881 | 173.3117 | 4.9998 | 157476.6724 | 10.1077 | 219.8152
| 56.007 | 151.9714 | 1.6177 | 161.8445 | 4.9997 | 153302.0872 | 11.8432 | 234.2726
| 56.007 | 143.9704 | 1.6896 | 169.2206 | 4.9996 | 165445.1461 | 10.492 | 238.812
| 56.007 | 135.9694 | 1.7424 | 171.1483 | 4.9997 | 157556.6066 | 10.3864 | 223.6055
| 56.007 | 127.9684 | 1.7947 | 177.3738 | 4.9997 | 181747.2028 | 9.2474 | 248.0591
| 56.007 | 119.9674 | 1.8518 | 167.7898 | 4.9996 | 160271.2148 | 10.7886 | 233.6526
| 56.007 | 111.9664 | 1.9038 | 164.5793 | 4.9998 | 167787.0473 | 11.0988 | 251.5595
| 56.007 | 103.9654 | 1.9818 | 171.3031 | 4.9996 | 153088.4087 | 10.458 | 216.8576
| 56.007 | 95.9644 | 2.0182 | 167.4476 | 4.9997 | 157852.3017 | 10.8878 | 230.6355
| 56.007 | 87.9634 | 2.0684 | 178.712 | 4.9996 | 180663.7115 | 9.1139 | 244.0363
| 56.007 | 79.9624 | 2.1359 | 160.7176 | 4.9997 | 149949.4051 | 12.1181 | 231.2463
| 56.007 | 71.9614 | 2.1905 | 180.9934 | 4.9996 | 172678.0116 | 8.9719 | 228.6788
| 56.007 | 63.9604 | 2.2468 | 176.6773 | 4.9997 | 170664.0167 | 9.4777 | 233.095
| 56.007 | 55.9594 | 2.3245 | 171.5199 | 4.9997 | 149754.8512 | 10.5022 | 211.7196
| 56.007 | 47.9584 | 2.3672 | 191.7549 | 4.9996 | 196069.1404 | 7.7085 | 243.4627
| 56.007 | 39.9574 | 2.421 | 182.9861 | 4.9997 | 187384.3582 | 8.5927 | 246.1748
| 56.007 | 31.9564 | 2.4838 | 187.7076 | 4.9997 | 191820.9769 | 8.0999 | 244.3222
| 56.007 | 23.9554 | 2.5402 | 175.55 | 4.9997 | 178742.5702 | 9.4931 | 246.9719
| 56.007 | 15.9544 | 2.5878 | 181.4547 | 4.9996 | 184460.1438 | 8.7792 | 244.6658
| 56.007 | 7.9534 | 2.6492 | 187.7636 | 4.9997 | 186745.7117 | 8.1434 | 237.1765
| 56.007 | 0 | 2.6992 | 186.7267 | 4.9997 | 189028.6999 | 8.2166 | 242.0709
| 64.008 | 191.9764 | 1.5004 | 167.1831 | 4.9995 | 152622.0304 | 11.0422 | 223.2832
| 64.008 | 183.9754 | 1.5717 | 170.0048 | 4.9996 | 157470.4942 | 10.5409 | 225.4716
| 64.008 | 175.9744 | 1.6082 | 173.4098 | 4.9995 | 153969.1681 | 10.1637 | 214.6403
| 64.008 | 167.9734 | 1.6563 | 174.0639 | 4.9996 | 167926.5648 | 9.8293 | 233.6823
| 64.008 | 159.9724 | 1.7319 | 170.6751 | 4.9995 | 152374.3905 | 10.5577 | 216.8791
| 64.008 | 151.9714 | 1.8068 | 169.5529 | 4.9997 | 159978.1308 | 10.5518 | 229.9907
| 64.008 | 143.9704 | 1.8741 | 164.7078 | 4.9998 | 153378.1967 | 11.3929 | 228.9306
| 64.008 | 135.9694 | 1.9264 | 186.4006 | 4.9997 | 175543.0675 | 8.3912 | 223.9969
| 64.008 | 127.9684 | 1.9897 | 200.2263 | 4.9997 | 181930.6036 | 7.1519 | 212.3624
| 64.008 | 119.9674 | 2.033 | 195.8836 | 4.9996 | 191497.8152 | 7.4079 | 230.827
| 64.008 | 111.9664 | 2.1136 | 190.8646 | 4.9997 | 160350.6578 | 8.162 | 197.6178
| 64.008 | 103.9654 | 2.1476 | 183.8089 | 4.9996 | 175599.9127 | 8.6444 | 228.1732
| 64.008 | 95.9644 | 2.2439 | 185.231 | 4.9996 | 166691.2753 | 8.6162 | 213.8142
| 64.008 | 87.9634 | 2.2631 | 182.86 | 4.9996 | 185318.2007 | 8.6273 | 243.4368
| 64.008 | 79.9624 | 2.3198 | 165.3623 | 4.9997 | 165373.3678 | 11.0321 | 246.1723
| 64.008 | 71.9614 | 2.3759 | 178.54 | 4.9998 | 189571.5969 | 9.0276 | 257.5039
| 64.008 | 63.9604 | 2.4369 | 173.5201 | 4.9996 | 158306.8239 | 10.0651 | 220.6575
| 64.008 | 55.9594 | 2.4816 | 191.4323 | 4.9997 | 186363.1825 | 7.821 | 230.8111
| 64.008 | 47.9584 | 2.5444 | 187.6802 | 4.9997 | 186770.3365 | 8.1507 | 237.3469
| 64.008 | 39.9574 | 2.6035 | 165.8793 | 4.9998 | 165172.7438 | 10.9618 | 244.833
| 64.008 | 31.9564 | 2.6587 | 190.8636 | 4.9996 | 187236.6847 | 7.8619 | 232.8757
| 64.008 | 23.9554 | 2.7225 | 178.8279 | 4.9996 | 167308.1063 | 9.2834 | 224.6753
| 64.008 | 15.9544 | 2.7765 | 164.8353 | 4.9997 | 165059.1761 | 11.1152 | 246.7358
| 64.008 | 7.9534 | 2.8474 | 188.852 | 4.9997 | 174706.2132 | 8.1704 | 219.1385
| 64.008 | 0 | 2.8972 | 185.463 | 4.9996 | 179540.3175 | 8.4355 | 230.9592
| 72.009 | 191.9764 | 1.6884 | 167.2784 | 4.9997 | 153723.4593 | 11.0033 | 224.7547
| 72.009 | 183.9754 | 1.7257 | 174.8226 | 4.9996 | 166195.5928 | 9.7657 | 229.8306
| 72.009 | 175.9744 | 1.7928 | 170.3112 | 4.9998 | 164373.5861 | 10.3669 | 235.1769
| 72.009 | 167.9734 | 1.8468 | 189.7678 | 4.9997 | 189731.1963 | 7.9348 | 238.0201
| 72.009 | 159.9724 | 1.9186 | 173.4903 | 4.9996 | 162469.4408 | 9.9927 | 226.7206
| 72.009 | 151.9714 | 1.9837 | 170.7345 | 4.9998 | 158885.6076 | 10.4151 | 226.2745
| 72.009 | 143.9704 | 2.0234 | 164.3383 | 4.9998 | 161138.0119 | 11.2709 | 241.5912
| 72.009 | 135.9694 | 2.0856 | 177.3059 | 4.9996 | 173068.9384 | 9.3708 | 235.4823
| 72.009 | 127.9684 | 2.1513 | 184.2985 | 4.9996 | 188445.5628 | 8.4525 | 245.3981
| 72.009 | 119.9674 | 2.211 | 181.9802 | 4.9997 | 178772.3226 | 8.7918 | 235.6336
| 72.009 | 111.9664 | 2.2821 | 183.8851 | 4.9996 | 159978.8474 | 8.8494 | 206.8081
| 72.009 | 103.9654 | 2.3288 | 165.9845 | 4.9997 | 156221.0354 | 11.135 | 230.8726
| 72.009 | 95.9644 | 2.3979 | 164.6011 | 4.9998 | 148823.2194 | 11.5241 | 222.2375
| 72.009 | 87.9634 | 2.437 | 173.9533 | 4.9997 | 178784.1615 | 9.6797 | 250.0347
| 72.009 | 79.9624 | 2.4865 | 181.7694 | 4.9997 | 183340.5287 | 8.7598 | 242.5049
| 72.009 | 71.9614 | 2.5562 | 160.5154 | 4.9997 | 152762.8269 | 12.075 | 236.0481
| 72.009 | 63.9604 | 2.6057 | 172.3315 | 4.9997 | 158366.4492 | 10.2159 | 222.7528
| 72.009 | 55.9594 | 2.6669 | 162.7906 | 4.9997 | 149875.9713 | 11.7811 | 227.1711
| 72.009 | 47.9584 | 2.7167 | 153.0286 | 4.9997 | 151311.8999 | 13.4695 | 249.5261
| 72.009 | 39.9574 | 2.7825 | 184.2086 | 4.9998 | 188485.8616 | 8.4613 | 245.6132
| 72.009 | 31.9564 | 2.8374 | 180.3844 | 4.9997 | 182640.5882 | 8.9116 | 243.9303
| 72.009 | 23.9554 | 2.898 | 186.8489 | 4.9996 | 187085.2473 | 8.2243 | 239.1541
| 72.009 | 15.9544 | 2.9698 | 190.3003 | 4.9996 | 187697.7117 | 7.9068 | 234.3909
| 72.009 | 7.9534 | 3.0143 | 200.7209 | 4.9997 | 186659.8696 | 7.076 | 217.6272
| 72.009 | 0 | 3.0658 | 181.2675 | 4.9996 | 179981.2679 | 8.8507 | 238.5661
| 80.01 | 191.9764 | 1.858 | 167.5733 | 4.9996 | 169023.3242 | 10.6504 | 247.4655
| 80.01 | 183.9754 | 1.926 | 177.0572 | 4.9996 | 158171.241 | 9.6357 | 214.7026
| 80.01 | 175.9744 | 1.9862 | 162.1114 | 4.9997 | 152050.0571 | 11.8326 | 231.81
| 80.01 | 167.9734 | 2.0498 | 165.8197 | 4.9996 | 157333.2887 | 11.1341 | 232.8714
| 80.01 | 159.9724 | 2.1024 | 181.3577 | 4.9996 | 177989.4697 | 8.8655 | 235.5754
| 80.01 | 151.9714 | 2.1882 | 193.4218 | 4.9997 | 182323.9295 | 7.6897 | 222.4398
| 80.01 | 143.9704 | 2.215 | 169.5624 | 4.9997 | 160773.3285 | 10.5347 | 231.1586
| 80.01 | 135.9694 | 2.2675 | 169.3209 | 4.9996 | 158734.7032 | 10.6081 | 228.5568
| 80.01 | 127.9684 | 2.3318 | 159.1679 | 4.9996 | 156919.8003 | 12.1914 | 245.4152
| 80.01 | 119.9674 | 2.3912 | 166.4849 | 4.9997 | 158524.8077 | 11.0114 | 233.4387
| 80.01 | 111.9664 | 2.4604 | 166.162 | 4.9997 | 158773.3133 | 11.0528 | 234.424
| 80.01 | 103.9654 | 2.5242 | 174.0401 | 4.9996 | 159192.0601 | 9.9833 | 221.0582
| 80.01 | 95.9644 | 2.5554 | 191.1044 | 4.9997 | 188777.4518 | 7.827 | 234.5806
| 80.01 | 87.9634 | 2.6405 | 172.5432 | 4.9996 | 152594.6207 | 10.3045 | 214.0986
| 80.01 | 79.9624 | 2.6764 | 160.5906 | 4.9998 | 152319.3509 | 12.0747 | 235.2029
| 80.01 | 71.9614 | 2.7456 | 160.0758 | 4.9997 | 162705.064 | 11.9009 | 252.8538
| 80.01 | 63.9604 | 2.8044 | 169.8852 | 4.9997 | 148958.6149 | 10.7445 | 213.2698
| 80.01 | 55.9594 | 2.8465 | 172.3398 | 4.9998 | 163089.1388 | 10.127 | 229.6295
| 80.01 | 47.9584 | 2.9285 | 189.7331 | 4.9996 | 179676.1857 | 8.0361 | 224.4508
| 80.01 | 39.9574 | 2.9645 | 188.6448 | 4.9996 | 193802.7027 | 7.9974 | 245.5058
| 80.01 | 31.9564 | 3.0269 | 187.9833 | 4.9996 | 184069.6959 | 8.1497 | 233.1379
| 80.01 | 23.9554 | 3.0972 | 189.8847 | 4.9996 | 182154.6239 | 7.9972 | 227.5463
| 80.01 | 15.9544 | 3.1386 | 180.0013 | 4.9997 | 172722.8343 | 9.0777 | 230.3883
| 80.01 | 7.9534 | 3.1917 | 187.5695 | 4.9996 | 188412.7184 | 8.1447 | 239.8043
| 80.01 | 0 | 3.2465 | 188.6994 | 4.9996 | 184432.8081 | 8.0809 | 232.491
| 88.011 | 191.9764 | 2.045 | 191.0777 | 4.9996 | 188325.1284 | 7.8333 | 234.0101
| 88.011 | 183.9754 | 2.1286 | 186.8081 | 4.9998 | 177195.9969 | 8.3335 | 225.6114
| 88.011 | 175.9744 | 2.1616 | 170.4353 | 4.9996 | 154999.1086 | 10.5341 | 221.0997
| 88.011 | 167.9734 | 2.216 | 165.8649 | 4.9996 | 160943.4542 | 11.0493 | 238.3139
| 88.011 | 159.9724 | 2.2766 | 176.6984 | 4.9997 | 170184.0915 | 9.4825 | 232.3651
| 88.011 | 151.9714 | 2.3318 | 193.3075 | 4.9995 | 192933.4412 | 7.6045 | 236.7092
| 88.011 | 143.9704 | 2.3974 | 172.9735 | 4.9997 | 163676.7691 | 10.0363 | 229.3782
| 88.011 | 135.9694 | 2.4637 | 166.2907 | 4.9997 | 154311.1912 | 11.1339 | 227.4224
| 88.011 | 127.9684 | 2.545 | 169.265 | 4.9997 | 154773.7984 | 10.6991 | 222.7971
| 88.011 | 119.9674 | 2.57 | 161.3451 | 4.9997 | 157050.6752 | 11.8295 | 241.1478
| 88.011 | 111.9664 | 2.6484 | 176.1678 | 4.9997 | 155537.1179 | 9.7901 | 212.4286
| 88.011 | 103.9654 | 2.6908 | 165.5022 | 4.9996 | 152897.3431 | 11.2838 | 226.732
| 88.011 | 95.9644 | 2.772 | 174.7429 | 4.9995 | 155503.1145 | 9.9652 | 214.6534
| 88.011 | 87.9634 | 2.7934 | 158.4917 | 4.9997 | 158364.271 | 12.2695 | 249.1866
| 88.011 | 79.9624 | 2.8565 | 165.7099 | 4.9997 | 151857.4006 | 11.2783 | 224.7885
| 88.011 | 71.9614 | 2.924 | 162.0134 | 4.9997 | 156659.4382 | 11.7321 | 239.1911
| 88.011 | 63.9604 | 2.9688 | 186.0426 | 4.9996 | 176927.5049 | 8.4092 | 226.4431
| 88.011 | 55.9594 | 3.0453 | 176.1979 | 4.9997 | 153603.6315 | 9.8234 | 209.6865
| 88.011 | 47.9584 | 3.0935 | 166.8613 | 4.9997 | 158207.797 | 10.9639 | 232.2551
| 88.011 | 39.9574 | 3.148 | 184.2487 | 4.9997 | 175468.2578 | 8.6022 | 227.2854
| 88.011 | 31.9564 | 3.2302 | 197.526 | 4.9996 | 187963.2869 | 7.3079 | 223.7939
| 88.011 | 23.9554 | 3.297 | 192.7068 | 4.9996 | 184184.3023 | 7.7322 | 225.9563
| 88.011 | 15.9544 | 3.3225 | 193.1656 | 4.9997 | 188937.1082 | 7.6508 | 231.5776
| 88.011 | 7.9534 | 3.3659 | 187.0517 | 4.9996 | 177427.6771 | 8.3074 | 225.5452
| 88.011 | 0 | 3.4309 | 169.5715 | 4.9996 | 151628.9388 | 10.7261 | 217.665
| 96.012 | 191.9764 | 2.2348 | 177.9669 | 4.9997 | 161227.8482 | 9.4773 | 217.5294
| 96.012 | 183.9754 | 2.3096 | 194.5027 | 4.9997 | 180053.1356 | 7.621 | 217.9086
| 96.012 | 175.9744 | 2.3395 | 170.4001 | 4.9998 | 164766.2681 | 10.348 | 235.6022
| 96.012 | 167.9734 | 2.4045 | 168.6264 | 4.9997 | 155666.5903 | 10.7686 | 225.2408
| 96.012 | 159.9724 | 2.4627 | 176.2152 | 4.9996 | 162778.1422 | 9.6559 | 222.5635
| 96.012 | 151.9714 | 2.5447 | 176.627 | 4.9996 | 157200.7295 | 9.7041 | 214.0275
| 96.012 | 143.9704 | 2.5754 | 177.4723 | 4.9997 | 173694.7329 | 9.3434 | 236.0991
| 96.012 | 135.9694 | 2.6489 | 180.7235 | 4.9995 | 151963.3999 | 9.3244 | 200.6664
| 96.012 | 127.9684 | 2.7014 | 179.0682 | 4.9996 | 161594.7698 | 9.3456 | 216.2942
| 96.012 | 119.9674 | 2.7603 | 178.0199 | 4.9996 | 159200.3498 | 9.5051 | 214.6165
| 96.012 | 111.9664 | 2.8126 | 177.5718 | 4.9996 | 163906.1064 | 9.4787 | 221.9305
| 96.012 | 103.9654 | 2.8619 | 166.2006 | 4.9996 | 154806.2043 | 11.1354 | 228.3323
| 96.012 | 95.9644 | 2.9198 | 162.4478 | 4.9998 | 153297.5957 | 11.7469 | 233.0948
| 96.012 | 87.9634 | 2.9851 | 165.039 | 4.9998 | 152838.0345 | 11.3557 | 227.4961
| 96.012 | 79.9624 | 3.0379 | 173.0758 | 4.9996 | 167389.4936 | 9.9599 | 234.6517
| 96.012 | 71.9614 | 3.1097 | 188.9752 | 4.9997 | 174490.6581 | 8.1615 | 218.6677
| 96.012 | 63.9604 | 3.1506 | 170.2116 | 4.9997 | 167098.6894 | 10.3307 | 239.4566
| 96.012 | 55.9594 | 3.2234 | 178.0115 | 4.9997 | 161035.9389 | 9.4754 | 217.1899
| 96.012 | 47.9584 | 3.2768 | 189.9058 | 4.9997 | 175715.9136 | 8.0632 | 218.9142
| 96.012 | 39.9574 | 3.3222 | 179.1844 | 4.9996 | 166558.971 | 9.2551 | 223.0396
| 96.012 | 31.9564 | 3.3832 | 172.4761 | 4.9996 | 153247.7476 | 10.2996 | 215.141
| 96.012 | 23.9554 | 3.4284 | 189.487 | 4.9995 | 192805.294 | 7.9316 | 242.7111
| 96.012 | 15.9544 | 3.5053 | 170.8049 | 4.9997 | 156528.9922 | 10.4528 | 222.6972
| 96.012 | 7.9534 | 3.5411 | 186.3514 | 4.9997 | 186736.4486 | 8.2744 | 239.4961
| 96.012 | 0 | 3.6022 | 174.8376 | 4.9996 | 169042.7914 | 9.7182 | 233.9504
| 104.013 | 191.9764 | 2.405 | 174.5329 | 4.9997 | 183006.7851 | 9.5544 | 255.3113
| 104.013 | 183.9754 | 2.4612 | 161.7305 | 4.9996 | 151942.6439 | 11.8969 | 232.3792
| 104.013 | 175.9744 | 2.5482 | 199.5632 | 4.9997 | 181787.5304 | 7.2033 | 213.0776
| 104.013 | 167.9734 | 2.573 | 176.9025 | 4.9996 | 168792.9812 | 9.4797 | 230.0103
| 104.013 | 159.9724 | 2.645 | 171.5444 | 4.9996 | 157019.4149 | 10.3447 | 222.1409
| 104.013 | 151.9714 | 2.7328 | 177.6121 | 4.9998 | 156425.3084 | 9.6018 | 211.4029
| 104.013 | 143.9704 | 2.7545 | 180.6894 | 4.9996 | 191798.5332 | 8.7777 | 256.7574
| 104.013 | 135.9694 | 2.8321 | 168.399 | 4.9996 | 151957.1407 | 10.8834 | 220.162
| 104.013 | 127.9684 | 2.8925 | 195.2342 | 4.9997 | 183880.3767 | 7.5255 | 221.8235
| 104.013 | 119.9674 | 2.9427 | 194.8426 | 4.9997 | 183035.3292 | 7.5652 | 221.2924
| 104.013 | 111.9664 | 2.985 | 169.7029 | 4.9997 | 155482.1512 | 10.6236 | 223.0747
| 104.013 | 103.9654 | 3.0379 | 166.1869 | 4.9998 | 148440.5724 | 11.2921 | 218.8377
| 104.013 | 95.9644 | 3.1042 | 167.3507 | 4.9996 | 157529.7024 | 10.9083 | 230.3271
| 104.013 | 87.9634 | 3.1643 | 165.9288 | 4.9998 | 155341.8543 | 11.1635 | 229.644
| 104.013 | 79.9624 | 3.2208 | 167.6115 | 4.9997 | 157649.401 | 10.8688 | 230.0299
| 104.013 | 71.9614 | 3.2848 | 165.6524 | 4.9997 | 153149.3578 | 11.2557 | 226.8384
| 104.013 | 63.9604 | 3.3348 | 168.1363 | 4.9997 | 162187.3517 | 10.7021 | 235.9081
| 104.013 | 55.9594 | 3.393 | 169.3901 | 4.9998 | 158707.0767 | 10.5997 | 228.3933
| 104.013 | 47.9584 | 3.4523 | 170.0185 | 4.9996 | 164257.5905 | 10.4072 | 235.5388
| 104.013 | 39.9574 | 3.4966 | 181.7719 | 4.9996 | 173246.7624 | 8.8825 | 228.2
| 104.013 | 31.9564 | 3.5841 | 173.8393 | 4.9997 | 152435.6421 | 10.1406 | 211.7757
| 104.013 | 23.9554 | 3.6227 | 161.2894 | 4.9998 | 154475.7353 | 11.9033 | 237.2024
| 104.013 | 15.9544 | 3.6639 | 170.6178 | 4.9998 | 167622.6159 | 10.2688 | 239.4895
| 104.013 | 7.9534 | 3.7624 | 194.7483 | 4.9997 | 178311.5058 | 7.6175 | 215.3087
| 104.013 | 0 | 3.7903 | 172.5143 | 4.9998 | 168882.0588 | 10.0055 | 237.8791
| 112.014 | 191.9764 | 2.6278 | 178.7666 | 4.9997 | 153915.7123 | 9.5125 | 206.1865
| 112.014 | 183.9754 | 2.6557 | 176.0864 | 4.9997 | 164663.8693 | 9.64 | 225.4698
| 112.014 | 175.9744 | 2.7332 | 193.9628 | 4.9997 | 181306.9904 | 7.6539 | 220.3175
| 112.014 | 167.9734 | 2.76 | 167.3176 | 4.9997 | 158171.1967 | 10.8993 | 231.355
| 112.014 | 159.9724 | 2.8425 | 190.6478 | 4.9996 | 183471.41 | 7.9166 | 228.1396
| 112.014 | 151.9714 | 2.8969 | 180.2144 | 4.9995 | 159767.0684 | 9.2466 | 211.993
| 112.014 | 143.9704 | 2.9411 | 165.8978 | 4.9996 | 152534.4131 | 11.2336 | 225.4641
| 112.014 | 135.9694 | 3.0155 | 193.5747 | 4.9995 | 180419.7766 | 7.6948 | 219.7226
| 112.014 | 127.9684 | 3.0723 | 166.8141 | 4.9995 | 155187.9965 | 11.0368 | 227.7847
| 112.014 | 119.9674 | 3.133 | 199.1683 | 4.9997 | 189810.9231 | 7.1671 | 223.8093
| 112.014 | 111.9664 | 3.1688 | 167.9248 | 4.9997 | 160278.3307 | 10.7698 | 233.4138
| 112.014 | 103.9654 | 3.2537 | 176.5758 | 4.9996 | 158817.1982 | 9.6814 | 216.3755
| 112.014 | 95.9644 | 3.2767 | 173.1892 | 4.9997 | 155308.4752 | 10.1654 | 216.9118
| 112.014 | 87.9634 | 3.3425 | 177.0041 | 4.9997 | 168480.4445 | 9.4729 | 229.3893
| 112.014 | 79.9624 | 3.3969 | 173.8374 | 4.9998 | 160887.4287 | 9.9781 | 223.8388
| 112.014 | 71.9614 | 3.4653 | 177.1969 | 4.9996 | 168108.4143 | 9.4562 | 228.5288
| 112.014 | 63.9604 | 3.5306 | 195.9831 | 4.9997 | 184599.5251 | 7.4585 | 221.6721
| 112.014 | 55.9594 | 3.5818 | 172.1778 | 4.9997 | 160005.86 | 10.2045 | 225.4007
| 112.014 | 47.9584 | 3.6298 | 165.1436 | 4.9997 | 157341.8044 | 11.2344 | 234.1627
| 112.014 | 39.9574 | 3.6896 | 177.1535 | 4.9997 | 169584.5836 | 9.439 | 230.7199
| 112.014 | 31.9564 | 3.7574 | 200.9869 | 4.9996 | 175988.6714 | 7.1469 | 203.9942
| 112.014 | 23.9554 | 3.8301 | 192.4913 | 4.9996 | 182217.462 | 7.7692 | 223.6773
| 112.014 | 15.9544 | 3.8923 | 196.2539 | 4.9996 | 171584.1573 | 7.5613 | 204.6872
| 112.014 | 7.9534 | 3.9062 | 175.9315 | 4.9998 | 162586.5036 | 9.6932 | 222.7621
| 112.014 | 0 | 3.9632 | 189.7484 | 4.9996 | 187708.6144 | 7.9551 | 235.2854
| 120.015 | 191.9764 | 2.7694 | 161.604 | 4.9997 | 160887.014 | 11.6975 | 246.7133
| 120.015 | 183.9754 | 2.8538 | 197.6799 | 4.9995 | 169909.7566 | 7.463 | 200.7344
| 120.015 | 175.9744 | 2.9205 | 187.5475 | 4.9997 | 188185.6983 | 8.149 | 239.5257
| 120.015 | 167.9734 | 2.9793 | 179.099 | 4.9996 | 153273.5268 | 9.4857 | 204.8143
| 120.015 | 159.9724 | 3.0181 | 189.7878 | 4.9996 | 189003.4625 | 7.9397 | 236.991
| 120.015 | 151.9714 | 3.0689 | 177.7286 | 4.9996 | 175647.9507 | 9.2874 | 238.4815
| 120.015 | 143.9704 | 3.1414 | 189.8611 | 4.9996 | 164956.6746 | 8.1943 | 204.8832
| 120.015 | 135.9694 | 3.1941 | 188.3477 | 4.9996 | 190346.7746 | 8.0555 | 241.1971
| 120.015 | 127.9684 | 3.2561 | 174.9473 | 4.9995 | 161883.3443 | 9.8232 | 223.3977
| 120.015 | 119.9674 | 3.3224 | 192.7734 | 4.9996 | 196279.8347 | 7.6215 | 242.0896
| 120.015 | 111.9664 | 3.3666 | 189.4588 | 4.9997 | 183282.86 | 8.0241 | 229.7308
| 120.015 | 103.9654 | 3.4196 | 194.709 | 4.9997 | 186089.7367 | 7.5484 | 225.4786
| 120.015 | 95.9644 | 3.4785 | 180.7336 | 4.9996 | 175249.269 | 8.9657 | 232.7409
| 120.015 | 87.9634 | 3.5519 | 191.7007 | 4.9996 | 183562.724 | 7.8242 | 226.6516
| 120.015 | 79.9624 | 3.5937 | 172.2588 | 4.9996 | 162948.2472 | 10.1396 | 229.5642
| 120.015 | 71.9614 | 3.6608 | 174.4613 | 4.9996 | 159218.967 | 9.9306 | 220.3953
| 120.015 | 63.9604 | 3.7305 | 192.095 | 4.9996 | 177066.1383 | 7.8549 | 217.4852
| 120.015 | 55.9594 | 3.7705 | 172.6517 | 4.9996 | 161324.0684 | 10.1189 | 226.5018
| 120.015 | 47.9584 | 3.8204 | 173.4438 | 4.9997 | 156244.5885 | 10.1147 | 217.8298
| 120.015 | 39.9574 | 3.8714 | 166.6914 | 4.9996 | 151356.9624 | 11.1443 | 222.2762
| 120.015 | 31.9564 | 3.9238 | 185.982 | 4.9996 | 183496.4203 | 8.3425 | 235.5949
| 120.015 | 23.9554 | 3.9967 | 171.8651 | 4.9997 | 167933.1484 | 10.1028 | 237.6506
| 120.015 | 15.9544 | 4.0359 | 182.0444 | 4.9995 | 165190.2596 | 8.9648 | 216.6115
| 120.015 | 7.9534 | 4.0916 | 170.7522 | 4.9996 | 148498.8259 | 10.635 | 211.1784
| 120.015 | 0 | 4.1627 | 174.3279 | 4.9995 | 160043.8766 | 9.9319 | 221.798
| 128.016 | 191.9764 | 2.9526 | 166.3813 | 4.9996 | 159904.3989 | 10.9965 | 235.7355
| 128.016 | 183.9754 | 3.0213 | 173.1564 | 4.9996 | 164217.5271 | 10.0037 | 229.8484
| 128.016 | 175.9744 | 3.0966 | 195.6212 | 4.9995 | 177329.5246 | 7.5549 | 212.8266
| 128.016 | 167.9734 | 3.1414 | 179.3079 | 4.9996 | 168151.7543 | 9.2178 | 225.0781
| 128.016 | 159.9724 | 3.2054 | 186.0494 | 4.9996 | 189338.4357 | 8.2766 | 243.6518
| 128.016 | 151.9714 | 3.2611 | 169.5815 | 4.9998 | 158491.9226 | 10.5779 | 227.732
| 128.016 | 143.9704 | 3.3088 | 179.5758 | 4.9995 | 179775.3717 | 9.0314 | 241.2109
| 128.016 | 135.9694 | 3.3737 | 189.1044 | 4.9995 | 186738.6769 | 8.0216 | 234.9928
| 128.016 | 127.9684 | 3.4357 | 182.7889 | 4.9997 | 190688.6239 | 8.5778 | 251.287
| 128.016 | 119.9674 | 3.5049 | 189.9993 | 4.9997 | 178522.8402 | 8.0246 | 222.5072
| 128.016 | 111.9664 | 3.5443 | 170.0115 | 4.9996 | 175520.5961 | 10.2163 | 252.7027
| 128.016 | 103.9654 | 3.6142 | 182.6139 | 4.9997 | 166044.8262 | 8.8929 | 216.9039
| 128.016 | 95.9644 | 3.6771 | 186.6751 | 4.9997 | 169898.4793 | 8.433 | 215.9628
| 128.016 | 87.9634 | 3.7225 | 169.7387 | 4.9996 | 167335.9124 | 10.3886 | 240.7022
| 128.016 | 79.9624 | 3.789 | 175.3496 | 4.9997 | 159265.4731 | 9.821 | 218.9969
| 128.016 | 71.9614 | 3.8772 | 194.9276 | 4.9996 | 181394.4901 | 7.5732 | 219.0381
| 128.016 | 63.9604 | 3.8863 | 190.2218 | 4.9996 | 190095.0861 | 7.8916 | 237.7834
| 128.016 | 55.9594 | 3.9553 | 185.4735 | 4.9995 | 167001.1416 | 8.5878 | 213.8686
| 128.016 | 47.9584 | 4.0086 | 182.3202 | 4.9996 | 163795.4841 | 8.9561 | 214.2832
| 128.016 | 39.9574 | 4.0272 | 172.3574 | 4.9996 | 165967.3597 | 10.0739 | 233.838
| 128.016 | 31.9564 | 4.0923 | 175.8209 | 4.9998 | 160813.5553 | 9.737 | 220.4226
| 128.016 | 23.9554 | 4.157 | 175.7757 | 4.9997 | 152736.6311 | 9.892 | 209.1383
| 128.016 | 15.9544 | 4.2138 | 172.4952 | 4.9996 | 160975.6133 | 10.1453 | 226.2645
| 128.016 | 7.9534 | 4.294 | 184.8937 | 4.9997 | 181160.5356 | 8.4727 | 234.135
| 128.016 | 0 | 4.3458 | 185.7223 | 4.9995 | 172184.1861 | 8.4968 | 220.4826
| 136.017 | 191.9764 | 3.1353 | 159.9729 | 4.9997 | 155899.4587 | 12.0832 | 242.1127
| 136.017 | 183.9754 | 3.2439 | 186.6332 | 4.9996 | 162628.1556 | 8.533 | 206.369
| 136.017 | 175.9744 | 3.2608 | 187.4342 | 4.9997 | 182688.6921 | 8.2148 | 232.1249
| 136.017 | 167.9734 | 3.3217 | 190.4923 | 4.9997 | 190674.5547 | 7.8629 | 238.1389
| 136.017 | 159.9724 | 3.3883 | 185.4838 | 4.9998 | 180935.6414 | 8.4182 | 232.8574
| 136.017 | 151.9714 | 3.4547 | 193.8732 | 4.9997 | 193994.5407 | 7.5497 | 237.2452
| 136.017 | 143.9704 | 3.5004 | 171.4673 | 4.9997 | 152921.5403 | 10.44 | 216.3441
| 136.017 | 135.9694 | 3.5714 | 186.4866 | 4.9996 | 175749.0238 | 8.3803 | 224.1426
| 136.017 | 127.9684 | 3.6234 | 192.502 | 4.9996 | 189476.9124 | 7.7016 | 233.3282
| 136.017 | 119.9674 | 3.6777 | 187.3533 | 4.9996 | 178181.0292 | 8.2707 | 226.0994
| 136.017 | 111.9664 | 3.7465 | 191.5966 | 4.9997 | 184183.6903 | 7.8273 | 227.6389
| 136.017 | 103.9654 | 3.7966 | 189.8655 | 4.9997 | 187577.0075 | 7.9463 | 234.9194
| 136.017 | 95.9644 | 3.8534 | 174.8794 | 4.9996 | 157497.4973 | 9.9108 | 217.2562
| 136.017 | 87.9634 | 3.9257 | 180.2185 | 4.9996 | 157182.5094 | 9.2894 | 208.4574
| 136.017 | 79.9624 | 3.9602 | 168.3593 | 4.9996 | 152689.1211 | 10.8722 | 221.3091
| 136.017 | 71.9614 | 4.0649 | 198.0219 | 4.9995 | 180097.4465 | 7.337 | 213.0429
| 136.017 | 63.9604 | 4.0727 | 188.0657 | 4.9997 | 188624.5285 | 8.0975 | 239.2779
| 136.017 | 55.9594 | 4.1276 | 186.8713 | 4.9996 | 184559.4276 | 8.2476 | 235.6119
| 136.017 | 47.9584 | 4.1812 | 164.9372 | 4.9997 | 149933.2395 | 11.4434 | 223.2973
| 136.017 | 39.9574 | 4.2179 | 164.1572 | 4.9996 | 153194.6404 | 11.4812 | 229.6786
| 136.017 | 31.9564 | 4.29 | 178.6266 | 4.9996 | 159011.3238 | 9.4386 | 213.4046
| 136.017 | 23.9554 | 4.3291 | 177.1338 | 4.9997 | 175280.3471 | 9.3596 | 238.9984
| 136.017 | 15.9544 | 4.4069 | 171.5677 | 4.9997 | 155240.6666 | 10.3778 | 219.5214
| 136.017 | 7.9534 | 4.4822 | 196.7229 | 4.9997 | 184455.4723 | 7.4008 | 220.4237
| 136.017 | 0 | 4.537 | 169.8755 | 4.9997 | 165092.3614 | 10.4112 | 237.0582
| 144.018 | 191.9764 | 3.3403 | 186.822 | 4.9996 | 165967.6511 | 8.4692 | 210.5094
| 144.018 | 183.9754 | 3.3734 | 181.6233 | 4.9997 | 176807.4126 | 8.8528 | 233.4542
| 144.018 | 175.9744 | 3.4446 | 192.247 | 4.9996 | 182424.3471 | 7.7881 | 224.3158
| 144.018 | 167.9734 | 3.4935 | 185.9584 | 4.9997 | 193290.5567 | 8.2475 | 249.4002
| 144.018 | 159.9724 | 3.5764 | 193.1749 | 4.9996 | 191120.8137 | 7.6309 | 234.4835
| 144.018 | 151.9714 | 3.6548 | 192.2651 | 4.9997 | 181699.1914 | 7.7938 | 223.3303
| 144.018 | 143.9704 | 3.6926 | 175.4638 | 4.9998 | 158339.6212 | 9.8241 | 217.4989
| 144.018 | 135.9694 | 3.7464 | 173.8 | 4.9996 | 175189.8176 | 9.7494 | 244.922
| 144.018 | 127.9684 | 3.8148 | 179.7453 | 4.9996 | 161760.6103 | 9.267 | 215.4623
| 144.018 | 119.9674 | 3.8679 | 194.03 | 4.9997 | 187775.1416 | 7.5893 | 228.715
| 144.018 | 111.9664 | 3.9272 | 188.0473 | 4.9997 | 190743.9934 | 8.0792 | 242.2497
| 144.018 | 103.9654 | 3.9843 | 187.9459 | 4.9996 | 185482.0755 | 8.139 | 235.1375
| 144.018 | 95.9644 | 4.049 | 186.0769 | 4.9994 | 181953.2167 | 8.3496 | 233.2996
| 144.018 | 87.9634 | 4.1125 | 187.6552 | 4.9996 | 172996.121 | 8.3015 | 218.6442
| 144.018 | 79.9624 | 4.1571 | 182.8855 | 4.9997 | 185365.5067 | 8.6244 | 243.4606
| 144.018 | 71.9614 | 4.2287 | 192.2718 | 4.9996 | 187050.3313 | 7.7427 | 230.4336
| 144.018 | 63.9604 | 4.2899 | 192.0005 | 4.9997 | 182240.48 | 7.8112 | 224.4421
| 144.018 | 55.9594 | 4.3242 | 185.5076 | 4.9995 | 193134.0599 | 8.2909 | 249.9661
| 144.018 | 47.9584 | 4.36 | 177.7703 | 4.9996 | 168523.2098 | 9.3844 | 228.155
| 144.018 | 39.9574 | 4.4393 | 187.4664 | 4.9995 | 170004.5308 | 8.3554 | 214.9295
| 144.018 | 31.9564 | 4.4748 | 163.4968 | 4.9997 | 152429.5671 | 11.6029 | 229.7519
| 144.018 | 23.9554 | 4.5247 | 182.7283 | 4.9998 | 171741.1871 | 8.8033 | 224.5611
| 144.018 | 15.9544 | 4.5915 | 168.8732 | 4.9997 | 151275.206 | 10.8321 | 218.3431
| 144.018 | 7.9534 | 4.6477 | 192.5631 | 4.9996 | 186439.8143 | 7.7235 | 229.1712
| 144.018 | 0 | 4.7148 | 166.4939 | 4.9997 | 153001.7759 | 11.1344 | 225.0865
| 152.019 | 191.9764 | 3.5047 | 171.6643 | 4.9996 | 170903.0917 | 10.0791 | 242.4748
| 152.019 | 183.9754 | 3.5597 | 188.5338 | 4.9996 | 186425.7906 | 8.0763 | 235.4837
| 152.019 | 175.9744 | 3.6311 | 184.0106 | 4.9996 | 184228.23 | 8.5251 | 239.9123
| 152.019 | 167.9734 | 3.6894 | 194.1056 | 4.9997 | 186917.4426 | 7.5907 | 227.468
| 152.019 | 159.9724 | 3.7586 | 167.9418 | 4.9997 | 160923.1773 | 10.7543 | 234.3566
| 152.019 | 151.9714 | 3.8323 | 194.2199 | 4.9996 | 178438.3341 | 7.6602 | 216.2206
| 152.019 | 143.9704 | 3.8841 | 194.2985 | 4.9997 | 183495.9618 | 7.6056 | 222.6869
| 152.019 | 135.9694 | 3.9226 | 165.6212 | 4.9998 | 160819.1442 | 11.0881 | 238.5938
| 152.019 | 127.9684 | 3.9796 | 166.937 | 4.9997 | 164426.9766 | 10.8257 | 241.6091
| 152.019 | 119.9674 | 4.0469 | 185.3812 | 4.9997 | 187589.3773 | 8.3574 | 242.3263
| 152.019 | 111.9664 | 4.1098 | 178.5715 | 4.9997 | 175758.3185 | 9.1928 | 237.1672
| 152.019 | 103.9654 | 4.1695 | 193.4316 | 4.9996 | 188997.4304 | 7.6279 | 231.2484
| 152.019 | 95.9644 | 4.2254 | 187.0573 | 4.9997 | 187007.2748 | 8.2058 | 238.7006
| 152.019 | 87.9634 | 4.2828 | 195.0049 | 4.9996 | 187950.5329 | 7.5081 | 227.4811
| 152.019 | 79.9624 | 4.342 | 180.8904 | 4.9996 | 177179.8543 | 8.9245 | 235.2174
| 152.019 | 71.9614 | 4.3982 | 187.8629 | 4.9997 | 168264.63 | 8.3399 | 212.0417
| 152.019 | 63.9604 | 4.4507 | 164.8265 | 4.9997 | 149541.2812 | 11.4705 | 222.9085
| 152.019 | 55.9594 | 4.491 | 167.7259 | 4.9997 | 165074.8427 | 10.7031 | 241.0848
| 152.019 | 47.9584 | 4.5501 | 187.8324 | 4.9997 | 190939.044 | 8.0969 | 242.8811
| 152.019 | 39.9574 | 4.5995 | 182.2695 | 4.9996 | 181823.7316 | 8.7261 | 239.4731
| 152.019 | 31.9564 | 4.6649 | 176.9178 | 4.9996 | 172343.4099 | 9.4253 | 235.108
| 152.019 | 23.9554 | 4.7106 | 177.3326 | 4.9997 | 176958.9884 | 9.3142 | 241.0946
| 152.019 | 15.9544 | 4.793 | 186.8835 | 4.9997 | 179711.9835 | 8.2981 | 228.9244
| 152.019 | 7.9534 | 4.8323 | 183.518 | 4.9997 | 186378.4193 | 8.5508 | 243.8087
| 152.019 | 0 | 4.8876 | 185.7644 | 4.9996 | 187157.895 | 8.3253 | 241.07
| 160.02 | 191.9764 | 3.6997 | 170.4046 | 4.9996 | 162748.7567 | 10.384 | 232.5785
| 160.02 | 183.9754 | 3.7478 | 188.7924 | 4.9995 | 188904.1503 | 8.029 | 238.4706
| 160.02 | 175.9744 | 3.836 | 173.5343 | 4.9996 | 148758.3387 | 10.2579 | 207.0882
| 160.02 | 167.9734 | 3.8854 | 189.1416 | 4.9995 | 170657.4746 | 8.1904 | 213.3454
| 160.02 | 159.9724 | 3.9388 | 165.0385 | 4.9997 | 155755.4458 | 11.2864 | 231.9343
| 160.02 | 151.9714 | 4.0163 | 198.6452 | 4.9996 | 186139.8737 | 7.2364 | 219.8563
| 160.02 | 143.9704 | 4.0618 | 192.841 | 4.9996 | 181147.7673 | 7.7498 | 221.7498
| 160.02 | 135.9694 | 4.1208 | 169.4619 | 4.9996 | 159034.775 | 10.5829 | 228.7506
| 160.02 | 127.9684 | 4.1789 | 175.0333 | 4.9996 | 161978.0386 | 9.8113 | 223.39
| 160.02 | 119.9674 | 4.2458 | 194.0225 | 4.9995 | 186012.9765 | 7.6053 | 226.399
| 160.02 | 111.9664 | 4.2909 | 186.6225 | 4.9996 | 189613.0452 | 8.2205 | 243.0652
| 160.02 | 103.9654 | 4.3538 | 191.6114 | 4.9997 | 187030.2759 | 7.7994 | 231.4291
| 160.02 | 95.9644 | 4.4003 | 166.4526 | 4.9996 | 158419.9532 | 11.0181 | 233.3389
| 160.02 | 87.9634 | 4.485 | 197.2727 | 4.9996 | 183613.8026 | 7.3646 | 218.5608
| 160.02 | 79.9624 | 4.5196 | 177.4503 | 4.9995 | 169145.4638 | 9.4114 | 229.584
| 160.02 | 71.9614 | 4.5677 | 176.5355 | 4.9995 | 180008.1741 | 9.3632 | 247.0278
| 160.02 | 63.9604 | 4.6293 | 193.2221 | 4.9996 | 180977.2571 | 7.7191 | 220.966
| 160.02 | 55.9594 | 4.686 | 171.3845 | 4.9996 | 159566.2259 | 10.3155 | 226.1345
| 160.02 | 47.9584 | 4.7403 | 177.7448 | 4.9996 | 170164.2557 | 9.363 | 230.5443
| 160.02 | 39.9574 | 4.787 | 168.3493 | 4.9995 | 158871.0253 | 10.7391 | 230.5156
| 160.02 | 31.9564 | 4.8587 | 188.174 | 4.9997 | 172086.5058 | 8.2638 | 216.6568
| 160.02 | 23.9554 | 4.9209 | 166.4489 | 4.9996 | 151493.5486 | 11.1769 | 222.9126
| 160.02 | 15.9544 | 4.9598 | 179.7213 | 4.9997 | 174825.0929 | 9.0798 | 233.8495
| 160.02 | 7.9534 | 5.0297 | 190.6705 | 4.9995 | 178869.0331 | 7.9609 | 221.9596
| 160.02 | 0 | 5.1065 | 191.1061 | 4.9996 | 185128.7276 | 7.8606 | 229.6575
| 168.021 | 191.9764 | 3.8859 | 175.6527 | 4.9997 | 167396.5172 | 9.6474 | 230.1387
| 168.021 | 183.9754 | 3.9453 | 162.3374 | 4.9996 | 150614.0324 | 11.8339 | 229.1593
| 168.021 | 175.9744 | 4.0032 | 198.2616 | 4.9995 | 187464.986 | 7.2548 | 222.0953
| 168.021 | 167.9734 | 4.0566 | 186.3974 | 4.9997 | 182846.6581 | 8.3104 | 234.0165
| 168.021 | 159.9724 | 4.1503 | 188.8958 | 4.9998 | 175825.3471 | 8.154 | 220.5667
| 168.021 | 151.9714 | 4.1863 | 182.2819 | 4.9998 | 184021.0507 | 8.7001 | 242.588
| 168.021 | 143.9704 | 4.2362 | 172.2182 | 4.9997 | 161124.7365 | 10.1783 | 226.9641
| 168.021 | 135.9694 | 4.3239 | 191.7268 | 4.9997 | 187195.6135 | 7.788 | 231.472
| 168.021 | 127.9684 | 4.3541 | 196.6182 | 4.9997 | 186978.3742 | 7.3873 | 223.8353
| 168.021 | 119.9674 | 4.4216 | 180.425 | 4.9997 | 170435.5885 | 9.0634 | 226.4616
| 168.021 | 111.9664 | 4.4679 | 160.0884 | 4.9997 | 152258.3996 | 12.1602 | 236.1056
| 168.021 | 103.9654 | 4.5444 | 191.1505 | 4.9997 | 183034.8847 | 7.8771 | 226.7852
| 168.021 | 95.9644 | 4.5969 | 178.4659 | 4.9996 | 164026.9144 | 9.3747 | 220.6486
| 168.021 | 87.9634 | 4.638 | 184.9287 | 4.9997 | 178203.4217 | 8.5028 | 229.9734
| 168.021 | 79.9624 | 4.6997 | 163.6631 | 4.9997 | 156518.2876 | 11.4774 | 235.7323
| 168.021 | 71.9614 | 4.7503 | 167.6057 | 4.9997 | 156226.1506 | 10.9005 | 227.9053
| 168.021 | 63.9604 | 4.807 | 170.4519 | 4.9997 | 160004.8946 | 10.4304 | 228.4226
| 168.021 | 55.9594 | 4.8655 | 167.6327 | 4.9996 | 145914.1699 | 11.1419 | 212.6345
| 168.021 | 47.9584 | 4.9248 | 183.3561 | 4.9997 | 168301.7897 | 8.7845 | 218.8432
| 168.021 | 39.9574 | 4.9627 | 177.5446 | 4.9997 | 179489.8669 | 9.2573 | 244.4215
| 168.021 | 31.9564 | 5.0274 | 175.5353 | 4.9997 | 161887.096 | 9.7524 | 222.4223
| 168.021 | 23.9554 | 5.0879 | 187.7119 | 4.9997 | 181017.0567 | 8.2067 | 229.3974
| 168.021 | 15.9544 | 5.1423 | 194.7954 | 4.9997 | 192251.9768 | 7.489 | 233.4829
| 168.021 | 7.9534 | 5.2051 | 164.0976 | 4.9996 | 155613.5721 | 11.432 | 233.5
| 168.021 | 0 | 5.2679 | 188.1076 | 4.9997 | 186979.9821 | 8.1096 | 236.9379
| 176.022 | 191.9764 | 4.085 | 161.4734 | 4.9997 | 149102.658 | 12.0163 | 228.4768
| 176.022 | 183.9754 | 4.1492 | 184.9816 | 4.9997 | 178366.6906 | 8.4956 | 230.1136
| 176.022 | 175.9744 | 4.1931 | 169.1319 | 4.9997 | 157861.5218 | 10.652 | 227.5979
| 176.022 | 167.9734 | 4.2487 | 189.9151 | 4.9996 | 184757.7873 | 7.9687 | 231.0122
| 176.022 | 159.9724 | 4.3119 | 175.9597 | 4.9997 | 163119.9079 | 9.6808 | 223.4756
| 176.022 | 151.9714 | 4.3783 | 197.319 | 4.9996 | 172859.9225 | 7.4618 | 204.88
| 176.022 | 143.9704 | 4.4358 | 191.0527 | 4.9997 | 192844.1247 | 7.7955 | 240.1963
| 176.022 | 135.9694 | 4.4897 | 190.0217 | 4.9997 | 190510.8029 | 7.9055 | 238.6767
| 176.022 | 127.9684 | 4.529 | 185.9273 | 4.9997 | 185944.376 | 8.3224 | 239.0976
| 176.022 | 119.9674 | 4.6048 | 166.0377 | 4.9998 | 155448.5224 | 11.145 | 229.6042
| 176.022 | 111.9664 | 4.6794 | 196.9208 | 4.9997 | 190037.5743 | 7.3382 | 227.3679
| 176.022 | 103.9654 | 4.7468 | 179.2435 | 4.9996 | 166192.7771 | 9.2541 | 222.4298
| 176.022 | 95.9644 | 4.7784 | 180.3825 | 4.9996 | 163870.6781 | 9.1635 | 217.3815
| 176.022 | 87.9634 | 4.8542 | 193.1223 | 4.9996 | 179696.8669 | 7.7401 | 219.4358
| 176.022 | 79.9624 | 4.9027 | 182.6028 | 4.9998 | 178206.1832 | 8.735 | 233.7906
| 176.022 | 71.9614 | 4.959 | 182.5029 | 4.9996 | 182189.6424 | 8.6981 | 239.5934
| 176.022 | 63.9604 | 4.9848 | 172.6021 | 4.9996 | 155989.4504 | 10.2273 | 218.8625
| 176.022 | 55.9594 | 5.0456 | 162.066 | 4.9997 | 153161.2071 | 11.8112 | 233.6221
| 176.022 | 47.9584 | 5.1056 | 164.9094 | 4.9998 | 154716.7893 | 11.3304 | 230.5929
| 176.022 | 39.9574 | 5.147 | 169.3472 | 4.9997 | 155497.1177 | 10.6723 | 223.7189
| 176.022 | 31.9564 | 5.2128 | 172.1277 | 4.9996 | 154761.3772 | 10.3139 | 217.8888
| 176.022 | 23.9554 | 5.271 | 172.4355 | 4.9998 | 165300.3228 | 10.0759 | 232.7142
| 176.022 | 15.9544 | 5.3248 | 166.8866 | 4.9996 | 160591.0903 | 10.9098 | 235.8286
| 176.022 | 7.9534 | 5.3903 | 169.399 | 4.9999 | 164072.2414 | 10.4941 | 236.4066
| 176.022 | 0 | 5.4649 | 188.5343 | 4.9997 | 181840.3581 | 8.1223 | 229.2231
| 184.023 | 191.9764 | 4.2578 | 161.8576 | 4.9997 | 154719.6325 | 11.805 | 236.4595
| 184.023 | 183.9754 | 4.3146 | 178.3167 | 4.9997 | 174654.3413 | 9.2357 | 236.0168
| 184.023 | 175.9744 | 4.3928 | 197.1643 | 4.9996 | 182568.7492 | 7.3824 | 217.3754
| 184.023 | 167.9734 | 4.4259 | 186.7293 | 4.9997 | 180487.8619 | 8.3042 | 230.2325
| 184.023 | 159.9724 | 4.4946 | 180.5886 | 4.9997 | 177140.2031 | 8.957 | 235.6749
| 184.023 | 151.9714 | 4.5442 | 177.0658 | 4.9997 | 164548.3724 | 9.5273 | 223.6733
| 184.023 | 143.9704 | 4.6077 | 168.7598 | 4.9997 | 152517.8884 | 10.8197 | 220.3601
| 184.023 | 135.9694 | 4.6697 | 184.3156 | 4.9998 | 176075.9229 | 8.5884 | 228.0184
| 184.023 | 127.9684 | 4.7196 | 168.8958 | 4.9997 | 158589.0447 | 10.6695 | 229.1045
| 184.023 | 119.9674 | 4.7823 | 184.8834 | 4.9996 | 173416.8281 | 8.5641 | 223.4608
| 184.023 | 111.9664 | 4.839 | 181.6173 | 4.9995 | 173920.1955 | 8.8898 | 229.3969
| 184.023 | 103.9654 | 4.892 | 186.1262 | 4.9996 | 183836.0046 | 8.3254 | 235.8303
| 184.023 | 95.9644 | 4.946 | 180.0348 | 4.9999 | 184328.5528 | 8.9288 | 247.006
| 184.023 | 87.9634 | 5.0328 | 193.9258 | 4.9998 | 186489.8383 | 7.6095 | 227.1741
| 184.023 | 79.9624 | 5.0603 | 179.0343 | 4.9997 | 167805.3483 | 9.2533 | 225.0386
| 184.023 | 71.9614 | 5.1282 | 171.5411 | 4.9997 | 152150.3488 | 10.4465 | 215.1126
| 184.023 | 63.9604 | 5.1735 | 169.4387 | 4.9996 | 156698.4652 | 10.6339 | 225.3292
| 184.023 | 55.9594 | 5.231 | 166.7384 | 4.9997 | 149693.6656 | 11.1783 | 219.7245
| 184.023 | 47.9584 | 5.267 | 167.6864 | 4.9996 | 154867.4985 | 10.9188 | 225.7292
| 184.023 | 39.9574 | 5.3367 | 175.4874 | 4.9997 | 157146.1847 | 9.8429 | 215.7736
| 184.023 | 31.9564 | 5.4009 | 173.3751 | 4.9997 | 153833.6917 | 10.1713 | 214.5054
| 184.023 | 23.9554 | 5.4671 | 196.0102 | 4.9996 | 177732.8591 | 7.5195 | 212.8039
| 184.023 | 15.9544 | 5.5083 | 171.2886 | 4.9996 | 157188.2856 | 10.375 | 222.8256
| 184.023 | 7.9534 | 5.5888 | 192.0156 | 4.9995 | 183553.5954 | 7.797 | 226.1616
| 184.023 | 0 | 5.628 | 185.1518 | 4.9996 | 178727.8584 | 8.4748 | 230.3382
| 192.024 | 191.9764 | 4.4727 | 195.8936 | 4.9994 | 182962.8692 | 7.4799 | 219.6821
| 192.024 | 183.9754 | 4.4913 | 183.1886 | 4.9998 | 185213.2816 | 8.596 | 242.7187
| 192.024 | 175.9744 | 4.5534 | 181.4452 | 4.9997 | 194574.7319 | 8.6729 | 259.441
| 192.024 | 167.9734 | 4.6148 | 173.1819 | 4.9997 | 157325.9191 | 10.1268 | 219.8146
| 192.024 | 159.9724 | 4.6726 | 180.1305 | 4.9996 | 179788.1967 | 8.9725 | 240.2586
| 192.024 | 151.9714 | 4.7204 | 185.2115 | 4.9997 | 187614.1402 | 8.3733 | 242.6499
| 192.024 | 143.9704 | 4.7822 | 163.8403 | 4.9996 | 155231.01 | 11.4805 | 233.4028
| 192.024 | 135.9694 | 4.8915 | 200.9283 | 4.9996 | 179393.9721 | 7.121 | 208.2722
| 192.024 | 127.9684 | 4.9014 | 165.9474 | 4.9997 | 159846.2826 | 11.061 | 236.472
| 192.024 | 119.9674 | 4.9916 | 196.702 | 4.9996 | 184900.8801 | 7.3984 | 221.0272
| 192.024 | 111.9664 | 5.0402 | 192.0703 | 4.9997 | 183133.5181 | 7.7967 | 225.522
| 192.024 | 103.9654 | 5.0815 | 187.6359 | 4.9996 | 185074.3376 | 8.1714 | 235.0782
| 192.024 | 95.9644 | 5.1582 | 202.3124 | 4.9996 | 183010.0209 | 6.9883 | 210.928
| 192.024 | 87.9634 | 5.1879 | 174.2516 | 4.9997 | 178047.5684 | 9.6548 | 248.3616
| 192.024 | 79.9624 | 5.2744 | 188.6469 | 4.9996 | 175520.1849 | 8.18 | 220.5319
| 192.024 | 71.9614 | 5.2984 | 185.2909 | 4.9996 | 176829.4443 | 8.4832 | 227.4983
| 192.024 | 63.9604 | 5.3644 | 179.9006 | 4.9996 | 167559.3752 | 9.1612 | 223.2812
| 192.024 | 55.9594 | 5.4138 | 182.8848 | 4.9996 | 161624.2845 | 8.9291 | 210.4884
| 192.024 | 47.9584 | 5.4529 | 168.7966 | 4.9998 | 153127.712 | 10.8011 | 221.1934
| 192.024 | 39.9574 | 5.5152 | 168.7352 | 4.9998 | 162010.1223 | 10.6233 | 234.5273
| 192.024 | 31.9564 | 5.5879 | 172.5911 | 4.9997 | 155166.6784 | 10.2455 | 217.6998
| 192.024 | 23.9554 | 5.6378 | 166.9865 | 4.9997 | 157595.1322 | 10.9592 | 231.0967
| 192.024 | 15.9544 | 5.6965 | 181.5834 | 4.9996 | 173594.8707 | 8.8978 | 228.9969
| 192.024 | 7.9534 | 5.7488 | 169.6226 | 4.9996 | 152376.9448 | 10.7022 | 218.6678
| 192.024 | 0 | 5.8314 | 196.6406 | 4.9996 | 174919.8474 | 7.4959 | 208.3729